Energy Efficiency

Bonneville Power Administration

Heat Pumps in Energy Efficiency Initiatives

BPA has a history of supporting heat pump measures with incentives.  Heat pumps provide multiple benefits to homeowners and utilities across the Region.  Utilities are very interested in encouraging efficient heat pump installations in their service territories.

Under the Conservation and Renewable Discount (C&RD) program, credits for heat pump installations were much higher than they are now under the Conservation Rate Credit (CRC) and Conservation Acquisition Agreement (CAA) initiatives.  It was not uncommon for a heat pump installation to be worth $3,000 in credits under the C&RD program.  Under the CRC and CAA, the incentives for heat pumps have been reduced substantially, consequently, the credits now range from $0 to $1,790 for heat pump installations.

This paper addresses the impacts of the credit reduction mentioned above and describes the benefits and shortfalls of heat pumps as efficiency providers.  It also expresses BPA’s goals and decisions regarding the existing program requirements and the future of heat pumps.

A Popular Measure

Homeowners choose heat pumps for many reasons, some of which may include:

- Electricity may be the only available heat source, and the heat pump is more efficient than resistance heating;

- Homeowners may want air-conditioning, and a heat pump may be more economical than both a gas furnace and an air-conditioner; and/or

- Some may feel that by using electricity, they’re somewhat sheltered from a more volatile gas market.

Utilities may be interested in heat pumps for many reasons, some of which may include:

- They provide quality customer service by helping customers to lower their electricity bill and use energy more efficiently;

- They maintain a steady stream of revenue, which electric heating and cooling systems help provide; and/or

- They meet a significant portion of regional or utility savings goals through the residential sector with heat pumps.

BPA is interested in heat pump efficiency improvements because the potential energy savings, although small, can help BPA meet its savings goals.  BPA’s energy savings goal for the residential sector is 21 average megawatts (aMW) for fiscal year 2007.  Heat pump improvements, weatherization and appliances have the potential to contribute to the savings goals at 6 percent, 4 percent and 2 percent, respectively.  Lighting measures have the highest share of the savings goal at 50 percent.  Market transformation, which mostly consists of lighting savings, makes up 38 percent of the goal.

BPA recognizes that energy savings from heat pump improvements are difficult to achieve because they require a high level of quality control (QC) and quality assurance (QA) in order to ensure reliable savings.  However, BPA continues to support heat pumps because of the substantial interest from homeowners and utilities.

BPA’s Overarching Principle for Conservation:

BPA plans to acquire all cost-effective energy savings at the least possible cost.

Acquisition

Under the C&RD program, BPA’s primary goal was to “encourage conservation” to help rebuild the energy efficiency infrastructure that had been lost following previous cut-backs.  In the Post-2006 world, BPA’s intent is to “acquire” energy savings.

The “acquisition” of 1 kilowatt-hour (kWh) of energy savings can be considered identical to the acquisition of 1 kWh of new generation.  Acquisition of energy savings reduces the BPA Administrator’s obligation to serve loads.

Cost Effective

An overarching principle of BPA’s Post-2006 programs is that measures supported by BPA funds are to be cost effective, as determined by the Northwest Power and Conservation Council (Council).  The Council put together a background paper describing why it uses a total resource cost-effectiveness test rather than a utility cost or end-user cost-effectiveness test.  The paper, titled “Cost-Effectiveness – Implication for Bonneville and Utility Programs,” is available at the following link: http://www.nwcouncil.org/news/2005_05/pw_ceissues.pdf.

Least Possible Cost

Under the C&RD program, BPA generally provided credits based on the full value of the energy savings to the regional bulk power system, as forecast by the Council, regardless of whether the savings were cost effective.  Under the Post-2006 programs, BPA seeks to acquire all cost-effective savings available, at the least possible cost.

BPA sets its “willingness to pay” based on the value of the energy savings, the incremental cost of the measure, what it would take to “move the market,” and any other perceived value of the measure (i.e., highly cost effective or important to utilities).  BPA will not pay the full incremental cost.  Some cost share either from the local utility or end-use consumer is required.  In addition, BPA’s willingness to pay is usually far less than the full value of the energy savings.  In theory, this allows BPA to spread its conservation dollars among more projects, achieving more energy savings.

Heat Pump Energy Savings

The Regional Technical Forum (RTF) assumes energy savings for heat pump upgrades come from three primary areas:  equipment efficiency, duct sealing and commissioning.  Annual energy savings range from about 1,000 kWh to about 6,000 kWh, depending primarily on heating zone and whether ducts are sealed.  Higher energy savings occur in colder areas and where leaky ducts in unheated spaces are sealed.

Equipment Efficiency

The RTF recommends BPA require that heat pumps installed in its programs have a Heating Seasonal Performance Factor (HSPF) of at least 8.5 and a Seasonal Energy Efficiency Ratio (SEER) of at least 14.0.  The federal minimum standard is HSPF 7.7, SEER 13.0.  The savings calculation assumes a baseline of 7.7/13 upgraded to 8.5/14, in all cases.  The efficiency upgrade accounts for about one-fifth of the energy savings in homes with ducts outside, and half of the energy savings in homes with ducts inside.  BPA also provides a higher reimbursement for systems with an HSPF of at least 9.5 due to higher savings.

Duct Sealing

Heat pumps with leaky ductwork perform very poorly.  In houses with a significant amount of ductwork outside the conditioned space, the RTF recommends duct sealing be required in conjunction with the heat pump upgrade.  Duct sealing accounts for about three-fifths of the energy savings from a heat pump upgrade measure in homes with ducts outside.

Commissioning

A recent study of heat pumps in the Pacific Northwest commissioned by the RTF noted that improper airflow across the indoor coil and excessive use of resistance elements were the two primary areas for potential improvement in efficiency.  BPA requires commissioning of every heat pump, which involves testing and documentation of proper airflow and resistance element controls.  Commissioning accounts for about one-fifth of the energy savings of the heat pump upgrade measures in homes with ducts outside, and about half of the energy savings in homes with ducts inside.

Cost Effectiveness Example

Cost effectiveness is calculated as economic benefits divided by the cost of the measure.  The following example shows how the benefit-to-cost ratio is calculated, assuming a heat pump upgrade in a particular situation is calculated to achieve 1,500 kWh/year in energy savings.

Economic Benefits

The Council’s analysis takes into account all quantifiable benefits of the energy savings over the life of a measure, including:

- Market value of the energy over the life of the measure;

- The seasonal and time-of-day differences in value;

- Value of reduced transmission and distribution losses;

- Value of deferred transmission and distribution system improvements; and

- Quantifiable environmental benefits.

The present value of energy savings from heat pumps is about $0.73 per first year kWh savings.  In the example, the present value of the total societal benefit amounts to $1,095 ($0.73/kWh x 1,500 kWh/year).  In other words, the region would avoid spending $1,095 on the power system by installing this measure.

Costs

The Council assumes average incremental costs come from three areas:

- The incremental cost of an 8.5 HSPF/ SEER 14 heat pump versus a 7.7 HSPF/ SEER 13 heat pump is $388;

- The cost of sealing ducts on a single family house is $425; and

- The incremental cost of commissioning the heat pump is $225.

The average total incremental cost of the measure is $1,038.

Benefit-to-Cost Ratio

The cost effectiveness is calculated as:

Present Value Benefits

Present Value Costs

=

($0.73/kWh)*(1,500 kWh/year)

$388 + $425 + $225

=

1.06

In this example, the benefit/cost ratio is greater than 1.0, which meets BPA’s overarching principle.  Measures with high benefit/cost ratios are the most valuable to the region.  Therefore, BPA provides support for these “best buy” measures to ensure they get installed.

Potential for Improvements

BPA has heard many of the difficulties utilities and technicians are having running heat pump programs under the new requirements.  In some cases, BPA has made changes based on the recommendations of utilities; in other cases, BPA is bound by its program guidelines.  BPA staff strives to listen to and understand technician and utility difficulties and recommendations.  Together, the RTF, BPA, utilities and technicians can continue to improve the technical and program aspects of achieving energy savings from heat pumps.  The following are responses to a few of the common potential improvements utilities have recommended BPA look into.

Training and Certification

BPA and its contractor, Ecos Consulting, have learned a lot from technician and utility comments and concerns about the difficulty of meeting the numerous program requirements.  BPA will continually work on better ways to provide training and implement the quality assurance and quality control aspects of the Performance Tested Comfort System™ (PTCS) standards in an effort to make the jobs of the certified technician and utility simpler, while still maintaining the integrity of the program.  Despite budget and other constraints, BPA has been able to provide technician training to most of the region in a fairly short amount of time.

Testing Equipment Costs

The TrueFlow plate and manometer which are required to implement the airflow test portion of heat pump commissioning cost about $750 and $800, respectively.  The Duct Blaster and Blower Door, which are required for duct testing, cost about $1,100 and $1700, respectively.

This has proven to be a significant barrier for some HVAC technicians.  One utility came up with a unique way to help the technician without just giving equipment away, and to help get measures installed.  Under this approach, the technician purchases the equipment and “recoups” the cost of the equipment by receiving an extra incentive from the utility (for instance, $50) for each measure installed until the extra incentives accrued equal the cost of the equipment.  Utilities have two options through BPA’s initiatives to pay for this extra incentive to the installer; utilities can claim the incentive as an expenditure of administrative funds or use BPA credits or reimbursements from this or other measures to fund the extra incentive.  Utilities decide how the credits or reimbursements are distributed and who receives the credits or reimbursements from BPA.  Under BPA guidelines, the utility has the option and flexibility to give the heat pump credit as an incentive to the HVAC technician, or divide the incentive between the homeowner and the technician, for example.

“RTF” Level Heat Pump

PTCS was originally established to train and certify duct technicians to certify that duct systems meet the PTCS specifications for duct leakage.  BPA requires PTCS Duct System Certification from a trained and certified technician on any heat pump installations where a substantial amount of the ductwork is located in unconditioned space.  PTCS was expanded to train and certify heat pump installation technicians to certify heat pump systems as meeting the PTCS standards.  These standards focus on testing and ensuring proper airflow and proper resistance element controls.  Utilities are reporting lack of installer participation due to the complexity and confusion of the program caused by the training and certification requirements, the documentation requirements, and/or the cost of the required testing equipment associated with the PTCS standards.

In an effort to improve the ease of implementation, utilities have suggested BPA add another heat pump measure that only provides incentives based on the equipment efficiency upgrade.  This would be similar to the “RTF” level heat pump that was available for installation under the C&RD program.  Although it would be a lower incentive, utilities say it would keep technician participation up, and allow utilities to get their foot in the door to more homes to educate the customer on more efficiency measures.

BPA’s analysis shows the cost effectiveness of improving the heat pump’s nominal efficiency as a stand-alone measure is sometimes only marginally greater than 1.0.  Depending on the specifics of the site, the cost effectiveness many times falls below 1.0.  Using the example above, the total energy savings are about 1,500 kWh/year, so the energy savings from the heat pump efficiency improvement are 300 kWh/year (assuming about one-fifth of the energy savings come from the heat pump efficiency improvement).  Using the equation above, this theoretical measure has a B/C ratio of only 0.56, well below 1.0.  The commissioning would have a B/C ratio of 0.97, and the duct sealing passes the test with a B/C ratio of 1.5.  In general, duct sealing is the most cost-effective measure, followed by commissioning, and then the equipment efficiency upgrade.  Since the equipment efficiency upgrade is often not cost effective by itself, BPA does not plan to offer it as a stand-alone measure.

Utilities have also suggested BPA relax the third-party requirements of PTCS certifications.  The RTF has continually stated that without the quality assurance and quality control of the PTCS program, the RTF would not have confidence in the claimed energy savings.  Therefore, BPA believes it is necessary to continue to require a fairly high level of third-party quality assurance and quality control achieved by implementation of the PTCS specifications.

“Upgrades” versus “Conversions”

Under the C&RD, savings and credits were based on the difference between the energy use of the existing system and the high efficiency heat pump.  “Conversions” from electric resistance heating systems such as forced-air furnace (FAF) or zonal/baseboard were common and had high savings and credits.  The RTF assumes an incremental cost of $4,962 for converting a heat pump from a forced-air electric furnace.  The duct sealing and commissioning add another $650 to the cost.  For existing zonal systems, the installation of a duct system adds $2,080, $4,400 or $4,600 to the total cost, depending on whether the house was built before 1980, between 1980 and 1992, or after 1992, respectively.

In order to be cost effective, the energy savings component from the heat pump installation would have to be over 6,800 kWh/year ($4,962/$0.73 per kWh = 6,800 kWh).  According to RTF calculations, most heat pump conversions from FAF are not cost effective.  Conversions from zonal systems have an even more difficult time passing the cost-effectiveness test because of the high cost of adding a duct system.  While some conversions with specific combinations of house vintage, duct location and existing heating system type do pencil out as cost effective, there are no simple rules of thumb on which systems pass the test.  Because of this analysis, BPA has made a simplifying assumption that all heat pump conversions, as a whole, are not cost effective and, therefore, are not available as a deemed measure in its current programs.

Except for basement homes in heating zone 1, nearly all heat pump upgrades are cost effective.  BPA decided to design its program offering around heat pump upgrades.  This has a few advantages in addition to being cost effective.  The heat pump upgrade measure assumes the homeowner would have installed a standard efficiency air-source heat pump.  Therefore, savings are coming from upgrading that heat pump to a more efficient one and going beyond standard installation practice to ensure energy savings.  This assumption allows utilities to offer their program to any home, new or existing, independent of the existing heating system type or fuel, and still be eligible for BPA credit/reimbursement.

Heat Pumps and the Future

BPA is committed to providing incentives for heat pump upgrades through the end of the 2007-2009 rate period.  Starting in Fiscal Year 2008, BPA plans to implement a cost share for heat pump commissioning and duct sealing training classes throughout the region.  BPA expects most areas will have an adequate saturation of trained technicians.  By Fiscal Year 2009, BPA plans to stop subsidizing the training classes altogether.  Utilities and/or technicians will bear the cost of the required classes.  BPA will continue to help put utilities in touch with training organizations.

Taking into account all of the factors involved in running a successful, cost-effective heat pump program, BPA is continually working to improve heat pump programs.  For instance, since the most cost-effective savings are actually from duct sealing, and because utilities have had some difficulty finding local contractors interested in the duct sealing business, BPA is investigating the possibility of achieving a large share of the available duct sealing savings with a regionwide third party contract approach.  BPA is interested in continuing the discussion with utilities on this idea as well as on other ways to improve the program and maximize cost-effective savings.

While BPA cannot predict the future, it expects air-source heat pump technologies will continue to improve over the next few years.  These new technologies will be specifically designed for high efficiency and capacity in the heating mode and rely less on inefficient electric resistance heaters for backup.  As these systems are proven reliable and efficient, BPA hopes to begin incorporating the new technology into its program and, eventually, replace the standard air-source heat pumps of today.  The ideal heat pump, in BPA’s view, is one that maintains a high coefficient of performance and capacity at low temperatures, without ever having to rely on electric resistance elements.