## 1. Site Data
BATTERY CHARGER ENERGY SAVINGS CALCULATOR |  |  | v 2.0 | Notice: BPA expired this measure on September 30, 2023. Any projects submitted for invoicing and reporting must have a Completion Date on or before September 30, 2023.
Instructions
1 | Fill out "Site Data" tab
2 | Fill out "Operational Data" tab
3 | Enter results into UES Measure Upload Template and upload template to BEETS.
4 | Upload calculator and invoice(s) to BEETS
If you have issues, please contact your EER
Yellow cells are to be filled out by user
Grey cells are calculated
CUSTOMER DATA
Customer Business Name:
| Customer Utility: | --Select--
Site Contact Name:
Site Contact Email:
Installation Address (Street):
City:
State:
Zip:
Customer Phone Number:
Vendor:
Installation Date:
| Sector: | --Select--
CUSTOMER DATA
Are these battery chargers replacing existing equipment?
Are the new battery chargers high frequency chargers?
Do the new battery chargers have a rated input power greater than 2 kW?
Do the new battery chargers use less than 10 W of standby power?
| Technical contact: | Nathan Kelly
nckelly@bpa.gov

## 2. Operational Data
OPERATIONAL DATA
CHARGER DATA
Number of Chargers for Retrofit |  |  | Enter number of chargers | Yellow cells are to be filled out by user
Grey cells are calculated
| Existing |  | Upgrade
Brand
Make
Model Number
Technology (select) | --Select-- |  | --Select--
Charger Conversion Efficiency | 0% |  | 0%
Please select battery charger technologies
COST DATA
Estimated Equipment Cost: |  |  | Cost is required
Estimated Freight:
Estimated Installation Cost:
Estimated Tax, if applicable:
Total Project Cost: | 0
Please include invoice with this project form on the INVOICE UPLOAD sheet.
OPERATIONAL DATA
Weekday Operation Data
Charge Cycles/day
Days/Week
Weeks/year
Weekday Charges/Year | 0
Weekend Operation Data
Charge Cycles/day
Days/Week
Weeks/year
Weekend Charges/Year | 0
Total Operation Data
Charge cycles/year/charger | 0
Total Charges/year | 0
Battery Data
Battery Voltage |  | V
Average battery voltage during use | 0 | V
Battery output capacity |  | A-hr
Final State of Charge before charge cycle | 20%
Battery output energy | 0 | kWh
Battery Round Trip Efficiency | 80%
Energy Analysis
Baseline energy/charge | 0 | kWh
Upgraded energy/charge | 0 | kWh
Baseline standby energy | 0 | kWh/yr
Upgraded standby energy | 87.6 | kWh/yr
Baseline charger energy/year | 0 | kWh/yr
Upgraded charger energy/year | 87.6 | kWh/yr
INCENTIVE CALCULATIONS
Total Annual Site Energy Savings | Please fix errors | kWh/yr | Busbar Factor
Total Annual Busbar Energy Savings | #VALUE! | kWh/yr | 1.0906
Estimated Incentive | #VALUE! | Based on kWh savings
70% of Project Cost: | 0
Utility Cap | 0 | (optional)
Eligible Incentive | #VALUE! | Lesser of Estimated Incentive or Project Cost
ENTER THE FOLLOWING VALUES IN THE UES MEASURE UPLOAD TEMPLATE:
Reference Number (Column D): | IPLPL30140
Quantity (Column E): | 1
Calculator Savings per Unit (Column V): | Please fix errors | kWh/yr
Calculator Reimbursement (Column W): | #VALUE!
Calculator Project Cost (Column X): | 0
Calculator BC Ratio (Column Y): | #VALUE!

## Lists (hidden)
YES | --Select-- | --Select-- | Account_Name | Description | BES_Number |  | Source for standby power
NO | High Frequency | Industrial | --Select-- |  |  |  | https://www.pge.com/includes/docs/pdfs/mybusiness/energysavingsrebates/moneybacksolutions/grocery/fb_ib/forklift_battery_charger_fs.pdf
| Ferroresonant | Commercial | ALBION | City of Albion | 10055 |  | Standby Power
| SCR | Ag | ASHLAND | City of Ashland | 10057 | High Frequency | 10 | W
|  |  | ASOTIN PUD | Public Utility District No. 1 of Asotin County | 10015 | Ferroresonant | 18.2 | W |  | This assume 8 hours/charge
|  |  | BANDON | City of Bandon | 10059 | SCR | 125.3 | W
|  |  | BANGOR | USN Bangor | 10409 | [8 empty] | NOTE
|  |  | BENTON CO. PUD #1 | Public Utility District No. 1 of Benton County | 10024 | [8 empty] | Battery Round Trip Efficiency accounts for the energy losses during the charging and discharge of the battery that must be provided by the charger in addition to the battery's rated output. 80% round trip efficiency was noted in a few places online. This assumption needs a better source to back it up.
|  |  | BENTON REA | Benton Rural Electric Association | 10025
|  |  | BIG BEND ELECTRIC COOP. | Big Bend Electric Cooperative | 10027
|  |  | BLACHLY-LANE ELECTRIC COOP | Blachly-Lane Electric Cooperative | 10029 |  | Battery Voltage at Varying States of Charge
|  |  | BLAINE | City of Blaine | 10061 |  | % Charge | 6V Battery | 8V Battery | 12V Battery | 24V Battery | 36V Battery | 48V Battery
|  |  | BONNERS FERRY | City of Bonners Ferry | 10062 |  | 100% | 6.37 | 8.49 | 12.73 | 25.46 | 38.2 | 50.93
|  |  | BREMERTON | USN Bremerton | 10326 |  | 90% | 6.31 | 8.41 | 12.62 | 25.24 | 37.85 | 50.47
|  |  | BURLEY | City of Burley | 10064 |  | 80% | 6.25 | 8.33 | 12.5 | 25 | 37.49 | 49.99
|  |  | CANBY | Canby Utility Board | 10044 |  | 70% | 6.19 | 8.25 | 12.37 | 24.74 | 37 | 49.49
|  |  | CASCADE LOCKS | City of Cascade Locks | 10065 |  | 60% | 6.12 | 8.16 | 12.24 | 24.48 | 36.72 | 48.96
|  |  | CENTRAL ELECTRIC COOP. | Central Electric Cooperative, Inc. | 10046 |  | 50% | 6.05 | 8.07 | 12.1 | 24.2 | 36.31 | 48.41
|  |  | CENTRAL LINCOLN PUD | Central Lincoln People's Utility District | 10047 |  | 40% | 5.98 | 7.97 | 11.96 | 23.92 | 35.87 | 47.83
|  |  | CENTRALIA | City of Centralia | 10066 |  | 30% | 5.91 | 7.88 | 11.81 | 23.62 | 35.44 | 47.26
|  |  | CHELAN CO. PUD #1 | Chelan Co. PUD #1 | 10050 |  | 20% | 5.83 | 7.77 | 11.66 | 23.32 | 34.97 | 46.63
|  |  | CHENEY | City of Cheney | 10067 |  | 10% | 5.75 | 7.67 | 11.51 | 23.02 | 34.52 | 46.03
|  |  | CHEWELAH | City of Chewelah | 10068 |  | Average: | 6.1122 | 8.1478 | 12.2211 | 24.4422 | 36.65 | 48.8856
|  |  | CLALLAM CO. PUD #1 | Public Utility District No. 1 of Clallam County | 10101 |  | % Nominal: | 101.9% | 101.8% | 101.8% | 101.8% | 101.8% | 101.8%
|  |  | CLARK CO. PUD #1 | Clark Public Utilities | 10103
|  |  | CLATSKANIE PUD | Clatskanie People's Utility District | 10105
|  |  | CLEARWATER POWER CO. | Clearwater Power Company | 10106
|  |  | COLUMBIA BASIN COOP. | Columbia Basin Electric Cooperative, Inc. | 10109
|  |  | COLUMBIA POWER COOP. | Columbia Power Cooperative Association | 10111 |  | http://www.worldwideforklifts.com/FORKLIFTBATTERYStateofChargeChart.pdf
|  |  | COLUMBIA REA | Columbia Rural Electric Association | 10113
|  |  | COLUMBIA RIVER PUD | Columbia River People's Utility District | 10112
|  |  | CONSOLIDATED IRRIGATION DISTRICT #19 | Consolidated Irrigation District No. 19 | 10116
|  |  | CONSUMERS POWER, INC. | Consumers Power, Inc. | 10118
|  |  | COOS-CURRY ELECTRIC COOP. | Coos-Curry Electric Cooperative, Inc. | 10121
|  |  | COULEE DAM | Town of Coulee Dam | 10378
|  |  | COWLITZ CO. PUD #1 | Public Utility District No. 1 of Cowlitz County | 10123
|  |  | DECLO | City of Declo | 10070
|  |  | DOUGLAS CO. PUD #1 | DOUGLAS CO. PUD #1 | 10135
|  |  | DOUGLAS ELECTRIC COOP. | Douglas Electric Cooperative, Inc. | 10136
|  |  | DRAIN | City of Drain | 10071
|  |  | EAST END | East End Mutual Electric Company, LTD | 10142
|  |  | EATONVILLE | Town of Eatonville | 10144
|  |  | ELLENSBURG | City of Ellensburg | 10072
|  |  | ELMHURST | Elmhurst Mutual Power & Light Company | 10156
|  |  | EMERALD PUD | Emerald People's Utility District | 10157
|  |  | ENERGY NORTHWEST | Energy Northwest | 10158
|  |  | EWEB | Eugene Water & Electric Board | 10170
|  |  | EVERETT | USN Everett-Jim Creek | 10408
|  |  | FAIRCHILD AIRFORCE BASE | Fairchild Air Force Base | 10172
|  |  | FALL RIVER RURAL ELECTRIC COOP. | Fall River Rural Electric Cooperative, Inc. | 10173
|  |  | FARMERS | Farmers Electric Company, LTD | 10174
|  |  | FERRY CO. PUD #1 | Public Utility District No. 1 of Ferry County | 10177
|  |  | FIRCREST | FIRCREST | 10073
|  |  | FLATHEAD ELECTRIC COOP. | Flathead Electric Cooperative, Inc. | 10179
|  |  | FOREST GROVE | City of Forest Grove | 10074
|  |  | FRANKLIN CO. PUD #1 | Public Utility District No. 1 of Franklin County | 10183
|  |  | GLACIER ELECTRIC COOP. | Glacier Electric Cooperative, Inc. | 10186
|  |  | GRANT CO. PUD #2 | Public Utility District No. 2 of Grant County, Washington | 10190
|  |  | GRAYS HARBOR CO. PUD #1 | Public Utility District No. 1 of Grays Harbor County Washington | 10191
|  |  | HARNEY ELECTRIC COOP. | Harney Electric Cooperative, Inc. | 10197
|  |  | HERMISTON ENERGY SERVICES | City of Hermiston | 10597
|  |  | HEYBURN | City of Heyburn | 10076
|  |  | HOOD RIVER ELECTRIC COOP. | Hood River Electric Cooperative | 10202
|  |  | IDAHO CO. L & P COOP. | Idaho County Light & Power Cooperative Association, Inc. | 10203
|  |  | IDAHO FALLS | City of Idaho Falls | 10204
|  |  | INLAND POWER & LIGHT | Inland Power & Light Company | 10209
|  |  | JEFFERSON | Public Utility District No.1 of Jefferson County | 12026
|  |  | KITTITAS CO. PUD #1 | Public Utility District No. 1 of Kittitas County | 10230
|  |  | KLICKITAT CO. PUD #1 | Public Utility District No. 1 of Klickitat County | 10231
|  |  | KOOTENAI ELECTRIC COOP. | Kootenai Electric Cooperative, Inc. | 10234
|  |  | KALISPEL | Kalispel Indian Community of the Kalispel Reservation | 13927
|  |  | LAKEVIEW L & P CO. | Lakeview Light & Power Company | 10235
|  |  | LANE ELECTRIC COOP. | Lane Electric Cooperative, Inc. | 10236
|  |  | LEWIS CO. PUD #1 | Public Utility District No. 1 of Lewis County | 10237
|  |  | LINCOLN ELECTRIC COOP. MONT | Lincoln Electric Cooperative, Inc. | 10239
|  |  | LOST RIVER ELECTRIC COOP. | Lost River Electric Cooperative, Inc. | 10242
|  |  | LOWER VALLEY ENERGY | Lower Valley Energy, Inc. | 10244
|  |  | MASON CO. PUD #1 | Public Utility District No. 1 of Mason County | 10246
|  |  | MASON CO. PUD #3 | Public Utility District No. 3 of Mason County | 10247
|  |  | MCCLEARY | City of McCleary | 10078
|  |  | MCMINNVILLE | The City of McMinnville | 10079
|  |  | MIDSTATE ELECTRIC COOP. | Midstate Electric Cooperative, Inc. | 10256
|  |  | MILTON | City of Milton | 10080
|  |  | MILTON-FREEWATER | City of Milton-Freewater | 10081
|  |  | MINIDOKA | City of Minidoka | 10082
|  |  | MISSION VALLEY POWER | Mission Valley Power | 10258
|  |  | MISSOULA ELECTRIC COOP. | Missoula Electric Cooperative, Inc. | 10259
|  |  | MODERN ELECTRIC WATER | Modern Electric Water Company | 10260
|  |  | MONMOUTH | City of Monmouth | 10083
|  |  | NESPELEM VALLEY ELECTRIC | Nespelem Valley Electric Cooperative, Inc. | 10273
|  |  | NORTHERN LIGHTS, INC. | Northern Lights, Inc. | 10278
|  |  | NORTHERN WASCO PUD | Northern Wasco County People's Utility District | 10279
|  |  | OHOP MUTUAL | Ohop Mutual Light Company | 10284
|  |  | OKANOGAN CO. ELECTRIC COOP. | Okanogan County Electric Cooperative, Inc. | 10285
|  |  | OKANOGAN CO. PUD #1 | Okanogan County Public Utility District No. 1 | 10286
|  |  | ORCAS POWER & LIGHT COOP. | Orcas Power & Light Cooperative | 10288
|  |  | OREGON TRAIL ELECTRIC COOP. | Oregon Trail Electric Consumers Cooperative, Inc. | 10291
|  |  | PACIFIC CO. PUD #2 | Public Utility District No. 2 of Pacific County | 10294
|  |  | PARKLAND P & L | Parkland Light & Water Company | 10304
|  |  | PEND OREILLE CO. PUD #1 | Pend Oreille County PUD No. 1 | 10306
|  |  | PENINSULA POWER & LIGHT INC. | Peninsula Light Company | 10307
|  |  | PLUMMER | City of Plummer | 10086
|  |  | PNGC | Pacific Northwest Generating Cooperative | 10298
|  |  | PORT ANGELES | City of Port Angeles | 10087
|  |  | PORT OF SEATTLE | Port of Seattle - Seattle-Tacoma International Airport | 10706
|  |  | RAFT RIVER ELECTRIC COOP. | Raft River Rural Electric Cooperative, Inc. | 10331
|  |  | RAVALLI ELECTRIC COOP. | Ravalli County Electric Cooperative, Inc. | 10333
|  |  | RICHLAND | City of Richland, Washington | 10089
|  |  | RIVERSIDE | Riverside Electric Company, LTD | 10338
|  |  | RUPERT | City of Rupert | 10091
|  |  | SALEM ELECTRIC | Salem Electric | 10342
|  |  | SALMON RIVER ELECTRIC COOP. | Salmon River Electric Cooperative, Inc. | 10343
|  |  | SEATTLE | City of Seattle, City Light Dept | 10349
|  |  | SKAMANIA CO. PUD #1 | Public Utility District #1 of Skamania County | 10352
|  |  | SNOHOMISH CO. PUD #1 | Public Utility District No. 1 Of Snohomish County | 10354
|  |  | SODA SPRINGS | City of Soda Springs | 10094
|  |  | SOUTH SIDE ELECTRIC | South Side Electric, Inc. | 10360
|  |  | SPRINGFIELD | Springfield Utility Board | 10363
|  |  | STEILACOOM | Town of Steilacoom | 10379
|  |  | SUMAS | City of Sumas | 10095
|  |  | SURPRISE VALLEY ELECTRIC CORP. | Surprise Valley Electrification Corporation | 10369
|  |  | TACOMA POWER | Tacoma Power | 10370
|  |  | TANNER ELECTRIC | Tanner Electric Cooperative | 10371
|  |  | TILLAMOOK PUD | Tillamook People's Utility District | 10376
|  |  | TROY | City of Troy | 10097
|  |  | UMATILLA ELECTRIC COOP. | Umatilla Electric Cooperative | 10388
|  |  | UMPQUA INDIAN UTILITY COOP | Umpqua Indian Utility Cooperative | 10482
|  |  | UNITED ELECTRIC COOPERATIVE, INC. | United Electric Co-op, Inc. | 10391
|  |  | US BIA WAPATO | US BIA - Wapato | 10399
|  |  | US DOE NATIONAL TECHNOLOGY LAB | US DOE Natl Energy Technology Lab | 10406
|  |  | US DOE RICHLAND | US Department of Energy - Richland Operations Office | 10426
|  |  | VERA WATER & POWER | Vera Water & Power | 10434
|  |  | VIGILANTE ELECTRIC COOP. | Vigilante Electric Cooperative, Inc. | 10436
|  |  | WAHKIAKUM CO. PUD #1 | Public Utility District No. 1 of Wahkiakum County | 10440
|  |  | WASCO ELECTRIC COOP. | Wasco Electric Cooperative, Inc. | 10442
|  |  | WEISER | City of Weiser | 11680
|  |  | WELLS RURAL ELECTRIC | Wells Rural Electric Company | 10446
|  |  | WEST OREGON ELECTRIC COOP. | West Oregon Electric Cooperative, Inc. | 10448
|  |  | WHATCOM | Public Utility District No 1 of Whatcom County | 10451
|  |  | YAKAMA POWER | Yakama Power | 10502
Note on J11: John Whitchurch: This data is more than likely the no-load voltage at a given % charge. The actual voltage will droop as the battery loads up.

## Revision notes (hidden)
Rev No | Date Published | Notes
1 | 2019-10-01 | Original Release
1.1 |  | Included Idle/standby 89%->85% baseline Battery round trip efficiency of 80% included average battery voltage during use factor changed to 102% added error checking (days per week, hours per day, not more than 24 hours/day of charging time, weeks/year, charger types, cost required, # of chargers required) added a version number for internal tracking Renamed "Technology Efficiency" to "Energy Analysis"
future? |  | Do we need to add a section for charger nameplate data? Having basic charger nameplate info would allow basic checks and error messages
ultra-high frequency charger option at 94% efficiency?
option for charging time (6 vs 8 hours)
initial state of charge (for opportunity chargers)