## Slide 1: Clark Public Utilities Requests the Administrator’s Consent for Partial Discontinuance of its River Road Gas Plant
November 30, 2021

## Slide 2: Agenda
Introductions and Purpose
Clark Public Utilities (CPU) and CPU attorney, Ryan Neale, will present the issue
BPA considerations
Next Steps

## Slide 3: Introductions and Purpose
Clark Public Utilities (CPU) is requesting the Administrator’s consent to partially discontinue use of its River Road generating plant, pursuant to §5(b) (1) of the Northwest Power Act
    Partially Discontinued use would begin FY2029
    CPU may request replacement power from BPA
Today’s workshop is to inform customers and stakeholders of CPU’s request and provide opportunity for questions
CPU will present its issue and request in further detail
Following CPU’s presentation, BPA will share considerations and expected next steps

## Slide 4: BPA Considerations

## Slide 5: Northwest Power Act - Section 5(b)(1)
Section 5(b)(1) of the Northwest Power Act requires CPU to take the River Road Resource to load.
CPU must continue to take the resource to load under the current contract and subsequent contracts as required by the Northwest Power Act unless the resource is discontinued due to the following:
  Obsolescence, retirement, loss of resource or loss of contract rights; OR
  with the Administrator’s consent.
If the Administrator consents to partial discontinuance, CPU may request in a post-2028 contract that BPA provide firm power to replace the discontinued portion of River Road.

## Slide 6: Transmission
River Road generation is beneficial to Vancouver area load service.
If replaced with generation east of the Cascades, east to west transmission congestion would increase.
  This would be most problematic if River Road were not generating during peak load conditions.
Reduction of River Road generation also may have negative impacts for Portland area load service and other path transfers (e.g. South of Allston).
Additional BPA study is required to quantify specific Transmission impacts.

## Slide 7: Carbon
Granting consent to partially discontinue use of River Road may have negative impacts on the carbon content of the federal system.
To the extent BPA must make market purchases to serve the load that otherwise would have been served by River Road, it will increase the amount of carbon emissions in BPA’s system. (Depending on how River Road is operated, BPA could end up purchasing the output of River Road on the market and having the emissions attributed to BPA’s system.) This would have the impact of:
  Increasing costs for BPA and/or its customers to comply with cap and trade programs (WA and CA) as it will increase BPA’s Asset Controlling Supplier (ACS) emission factor.
  Making it more difficult for Washington customers to meet CETA mandates as the quantity of emitting resources in BPA’s system will increase.
  Potentially making it more difficult and costly for BPA to achieve certain post-2028 options related to the carbon content of the system (such as “greening up” the system).

## Slide 8: Resource Adequacy under the Western Resource Adequacy Program (WRAP)
Currently only way to analyze is under a Regional Dialogue construct.
BPA customer product types are treated differently under Resource Adequacy (RA) calculations
  Load Following Product: P50 load*
  Slice/Block, Block, and other sales: reduces resource capacity available to serve P50 load
Change in load (increases/decreases) placed on BPA directly affects RA results by product type
  Load Following: peak load change directly applied to the P50 load (increase or decrease)
  Block: block change reflected in exact amount of change in resource capacity available to serve P50 load
  Slice Right to Power Change: percentage change reflected in total resources available to serve P50 load.
  Other sale: reflected according to contract specifics as a reduction in resources available to serve P50 load.
  *P50 load is the aggregate of total retail loads of BPA Load Following customers

## Slide 9: Next Steps
BPA will provide a two week comment period December 1 – December 15, 2021. Please submit comments on BPA’s public comment page:
    https://publiccomments.bpa.gov/OpenCommentListing.aspx
The Administrator will consider submitted comments when making the final decision on CPU’s request