| WHO SHOULD FILE THIS FORM: Any customer expressing an interest in connecting transmission line or loads to the Bonneville Power Administration’s (BPA) Transmission Business Line System (TBL’s). This application should be completed as soon as possible and returned to the BPA Transmission Account Executive in order to begin processing the request. |  |  |  |
| --- | --- | --- | --- |
| INFORMATION: This application will be used by BPA to determine if a System Impact and Facility Requirement Study are required. This study is used to determine the location (Connection Point), equipment requirements (Requester and BPA TBL), system modifications, etc. to connect transmission lines and/or loads. Sections 1 and 2 should be completed as soon as possible and returned to the BPA Transmission Account Executive. Section 3 must be completed if it is determined that a System Impact and Facility Requirement Study is required. Following completion of the study the Requester will receive a preliminary estimate for the utility interface requirements that may be used in calculating the overall project connection requirements. |  |  |  |
| SECTION 1 – INTERCONNECTION REQUESTER AND CONTRACTORS |  |  |  |
| A. Requester/Owner Information |  |  |  |
| Company Name |  |  |  |
| Mailing Address |  |  |  |
| City |  | State | 9 Digit Zip Code |
| Phone Number | Email Address | Contact Name |  |
| B. Connection Design/Engineering Architect (As applicable) |  |  |  |
| Company Name |  |  |  |
| Mailing Address |  |  |  |
| City |  | State | 9 Digit Zip Code |
| Phone Number | Email Address | Contact Name |  |
| C. Electrical Contractor (As Applicable) |  |  |  |
| Company Name |  |  |  |
| Mailing Address |  |  |  |
| City | State |  | 9 Digit Zip Code |
| Phone Number | Email Address | Contact Name |  |

| Section 2 – General Specifications, Location, and Diagrams for Connection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Preliminary Review Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A. Type of Connection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Radial Load |  |  |  |  |  |  | Comments |  |  |  |  |  |  |  |  |  |  |
|  | Network Connection with Other Sources Present Operating Voltage (kV): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Connection Point Location – Identify the BPA TBL Line or Substation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Street Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State |  |  |  |  | County |  |  |  |  |  |  |  |  |  | Nearest community |  |  |  |
| Township |  |  |  |  |  |  |  |  |  | Range |  |  |  |  | Section |  |  |  |
| Identify the BPA TBL Line or Substation Connection Point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. Type of Load: Identify the characteristics which best describe the type of load to be served. Include specific information for loads such as those associated with arc furnaces, large motor, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D. Load Data (At the time of energization and every year for 10 years) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Value for Year: |  | 1 | 2 | 3 |  |  | 4 |  | 5 |  | 6 | 7 |  | 8 |  | 9 | 10 |  |
| Projected Peak Load [kW] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Summer Peak Load [kW] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Winter Peak Load [kW] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Anticipated Power Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| e. Quality of Service (Special Requirements such as power quality, frequency and duration of outages, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| F. Future Plans (Where known: Modification, changes, or additions affecting the connection or connected equipment) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| G. Attach Electrical One-Line Diagram of the project that includes proposed protective relaying, breaker and switching arrangements, ground sources (zero sequence), and assumed electrical equipment parameters for the connection. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Title |  |  |  |  |  | Name (First, Last) (Please Print or Type) |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  |  |  |  | Date |  |  |  |  |  |

| Section 3 – Study Data Requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. Network Power Flow Model (As required) (Enclose a model using approved WECC format) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B. Interconnecting Transmission Line(s) or Cable (Provide all parameters in physical units if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nominal voltage [kV] |  |  |  |  |  |  |  |  |  | Length (Miles) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Transmission Line Impedances |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Quantity |  |  |  |  |  |  |  |  |  |  |  |  | Positive Sequences |  |  |  |  |  |  |  |  |  |  |  |  | Zero Sequence |  |  |  |  |  |  |  |  |  |  |  |
| Series Resistance, R  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Series Reactance X  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Shunt Susceptance, B  S (or -1)] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Will this line be built on common structures with other circuits? |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Will this line be transformer-terminated at either end? If “yes”, state which end(s) and the transformer identifier. |  |  |  |  |  |  |  |  | Yes |  |  |  | End: |  |  |  |  |  |  |  |  |  | Transformer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C. Transformers (Provide parameters if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Identifier |  |  |  |  |  | Number of Windings |  |  |  |  |  |  |  |  |  |  | Autotransformer? |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  |  |  | No |  |
| Winding | Nominal Voltage [kV] |  |  | Configuration ( or YG) |  |  |  |  |  |  |  | Nameplate MVA |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  | / |  |  |  |  |  |
| H: |  |  |  |  |  |  |  |  |  |  |  | H to X: |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |
| X: |  |  |  |  |  |  |  |  |  |  |  | H to Y: |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |
| Y: |  |  |  |  |  |  |  |  |  |  |  | X to Y: |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |
| Tap Information |  | Winding (H, X, or Y) |  |  |  |  | Values: Operational [kV] |  |  |  |  |  |  |  |  |  |  | Available Taps [kV] |  |  |  |  |  |  |  |  | / / / / |  |  |  |  |  |  |  |  |  |  |
| Transformer Impedance: Winding |  |  |  |  |  |  | H to X: % @ MVA |  |  |  |  |  |  |  |  | H to Y: % @ MVA |  |  |  |  |  |  |  |  |  |  |  | X to Y: % @ MVA |  |  |  |  |  |  |  |  |  |
| D. System Data – Only applicable where generation resources are present or if the connection includes another network source. Provide a system equivalent (R1, X1, R0, X0 in per unit on a 100 MVA base) at the proposed Connection Point looking into the connecting system. These values should be determined such that the system model does not include the physical connection to the BPA System. Assuming there are no other connections to the BPA System at any other point, these quantities are available by computing a single line-to-ground “bus fault” at the proposed Connection Point. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Generation (If applicable), (Must follow the processes as described in this BPA form that are appropriate for a new generation interconnection.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E. Reactive Equipment (Location, size, and rated voltage) More specific information is required for reactive with dynamic capability (SVC, TCSC, Sync Condensers, etc.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| To be filled out by the BPA Transmission Account Executive: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Transmission Account Executive (Name) |  |  |  |  |  |  |  |  |  |  | Internal Routing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Phone Number |  |  |  |  |  |  |  |
| Region |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | E-Mail Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Copy of Interconnection Study Request and Attachments to: Transmission Planning Manager – TPP; System Protection Manager – TECC; Customer Service Engineering - TPC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |