Attachment 2

SMALL GENERATOR INTERCONNECTION REQUEST

(Application Form)

#### Transmission Provider: _______________________________________________________________

Designated Contact Person: 	______

Address: 	______

Telephone Number: ____________________________________________________________________

Fax: 	______

E-Mail Address: 	______

An Interconnection Request is considered complete when it provides all applicable and correct information required below.  Per SGIP section 1.5, documentation of site control must be submitted with the Interconnection Request.

Preamble and Instructions:

An Interconnection Customer who requests a Federal Energy Regulatory Commission jurisdictional interconnection must submit this Interconnection Request by hand delivery, mail, e-mail, or fax to the Transmission Provider.

Deposit:

The Interconnection Customer shall submit to the Transmission Provider a deposit of $2,500 towards the costs of the scoping meeting and the feasibility study.

Interconnection Customer Information:

Legal Name of the Interconnection Customer (or, if an individual, individual's name)

Name:

Contact Person:

Mailing Address:

City: 		State: 		Zip:

Facility Location (if different from above):

Telephone (Day): ______________________ Telephone (Evening): _____________________

Fax: _______________________________ E-Mail Address: __________________________________

Alternative Contact Information (if different from the Interconnection Customer):

Contact Name: 	___________________________________

Title: ____________________________________________________________________	______

Address: 	___________________________________

___________________________________

Telephone (Day): ______________________ Telephone (Evening): ______________________

Fax: _____________________________________ E-Mail Address: _________________________

Application is for:	______New Small Generating Facility

______Capacity addition to Existing Small Generating Facility

If capacity addition to existing facility, please describe:

Will the Small Generating Facility be used for any of the following?

Net Metering? ___Yes ___ No

To Supply Power to the Interconnection Customer? ___Yes ___ No

To Supply Power to Others? ___Yes ___ No

For installations at locations with existing electric service to which the proposed Small Generating Facility will interconnect, provide:

(Local Electric Service Provider*)                                                        (Existing Account Number*)

[*To be provided by the Interconnection Customer if the local electric service provider is different from the Transmission Provider]

Contact Name: 	__________________________________

Title: 	__________________________________

Address: 	__________________________________

__________________________________

Telephone (Day): _____________________________ Telephone (Evening): ______________________

Fax: _________________________________________ E-Mail Address: _________________________

Requested Point of Interconnection: 	_____________

Interconnection Customer's Requested In-Service Date:

Small Generating Facility Information:

Data apply only to the Small Generating Facility, not the Interconnection Facilities.

Energy Source: ___ Solar   ___ Wind   ___ Hydro   ___ Hydro Type (e.g. Run-of-River):_____________

Diesel  ___ Natural Gas   ___ Fuel Oil  ___  Other (state type) ___________________________

Prime Mover:	      Fuel Cell	      Recip Engine	      Gas Turb	      Steam Turb

Microturbine	      PV	      Other

Type of Generator: ____Synchronous      ____Induction     ____ Inverter

Generator Nameplate Rating: ________kW (Typical)                 Generator Nameplate kVAR: _______

Interconnection Customer or Customer-Site Load: _________________kW (if none, so state)

Typical Reactive Load (if known): _________________

Maximum Physical Export Capability Requested: ______________ kW

Generator (or solar collector)

Manufacturer, Model Name & Number:

Version Number:

Nameplate Output Power Rating in kW:   (Summer) _____________ (Winter) ______________

Nameplate Output Power Rating in kVA: (Summer) _____________ (Winter) ______________

Individual Generator Power Factor

Rated Power Factor: Leading: _____________Lagging: _______________

Total Number of Generators in wind farm to be interconnected pursuant to this

Interconnection Request: __________  Elevation: ______                 ___Single phase      ___Three phase

Inverter Manufacturer, Model Name & Number (if used): _____________________________________

List of adjustable set points for the protective equipment or software: __________________________

Note: A completed Power Systems Load Flow data sheet must be supplied with the Interconnection Request.

Small Generating Facility Characteristic Data (for inverter-based machines):

Max design fault contribution current: 		Instantaneous        or RMS?

Harmonics Characteristics:

Start-up requirements:

Small Generating Facility Characteristic Data (for rotating machines):

RPM Frequency: _____________

(*) Neutral Grounding Resistor (If Applicable): ____________

Synchronous Generators:

Direct Axis Synchronous Reactance, Xd: _______ P.U.

Direct Axis Transient Reactance, X' d: ___________P.U.

Direct Axis Subtransient Reactance, X" d: ______________P.U.

Negative Sequence Reactance, X2: _________ P.U.

Zero Sequence Reactance, X0: ____________ P.U.

KVA Base: __________________________

Field Volts: ______________

Field Amperes: ______________

Induction Generators:

Motoring Power (kW): ______________

I22t or K (Heating Time Constant): ______________

Rotor Resistance, Rr: ______________

Stator Resistance, Rs:  ______________

Stator Reactance, Xs: ______________

Rotor Reactance, Xr:  ______________

Magnetizing Reactance, Xm: ______________

Short Circuit Reactance, Xd'': ______________

Exciting Current: ______________

Temperature Rise: ______________

Frame Size:  ______________

Design Letter: ______________

Reactive Power Required In Vars (No Load): ______________

Reactive Power Required In Vars (Full Load): ______________

Total Rotating Inertia, H: _____________   Per Unit on kVA Base

Note: Please contact the Transmission Provider prior to submitting the Interconnection Request to determine if the specified information above is required.

Excitation and Governor System Data for Synchronous Generators Only

Provide appropriate IEEE model block diagram of excitation system, governor system and power system stabilizer (PSS) in accordance with the regional reliability council criteria.  A PSS may be determined to be required by applicable studies. A copy of the manufacturer's block diagram may not be substituted.

Interconnection Facilities Information:

Will a transformer be used between the generator and the point of common coupling? ___Yes ___No

Will the transformer be provided by the Interconnection Customer?  ____Yes ____No

Transformer Data (If Applicable, for Interconnection Customer-Owned Transformer):

Is the transformer:  ____single phase _____three phase                           Size: ___________kVA

Transformer Impedance: _______% on __________kVA Base

If Three Phase:

Transformer Primary:     _____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Secondary: _____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Tertiary:     _____ Volts _____ Delta _____Wye _____ Wye Grounded

Transformer Fuse Data (If Applicable, for Interconnection Customer-Owned Fuse):

(Attach copy of fuse manufacturer's Minimum Melt and Total Clearing Time-Current Curves)

Manufacturer: __________________ Type: _______________ Size: ________Speed: ______________

Interconnecting Circuit Breaker (if applicable):

Manufacturer: ____________________________ Type: __________

Load Rating (Amps): _______ Interrupting Rating (Amps): ________ Trip Speed (Cycles): __________

Interconnection Protective Relays (if applicable):

If Microprocessor-Controlled:

List of Functions and Adjustable Setpoints for the protective equipment or software:

Setpoint Function						Minimum		Maximum

If Discrete Components:

(Enclose Copy of any Proposed Time-Overcurrent Coordination Curves)

Manufacturer: 	  Type: 	  Style/Catalog No.: 	  Proposed Setting:

Manufacturer: 	  Type: 	  Style/Catalog No.: 	  Proposed Setting:

Manufacturer: 	  Type: 	  Style/Catalog No.: 	  Proposed Setting:

Manufacturer: 	  Type: 	  Style/Catalog No.: 	  Proposed Setting:

Manufacturer: 	  Type: 	  Style/Catalog No.: 	  Proposed Setting:

Current Transformer Data (if applicable):

(Enclose Copy of Manufacturer's Excitation and Ratio Correction Curves)

Manufacturer:

Type: 	  Accuracy Class: 	  Proposed Ratio Connection: ____

Manufacturer:

Type: 	  Accuracy Class: 	  Proposed Ratio Connection: ____

Potential Transformer Data (if applicable):

Manufacturer:

Type: 	  Accuracy Class: 	  Proposed Ratio Connection: ____

Manufacturer:

Type: 	  Accuracy Class: 	  Proposed Ratio Connection: ____

General Information

Enclose copy of site electrical one-line diagram showing the configuration of all Small Generating Facility equipment, current and potential circuits, and protection and control schemes.  This one-line diagram must be signed and stamped by a licensed Professional Engineer if the Small Generating Facility is larger than 50 kW.

Is one-line diagram enclosed? ____Yes ____No

Enclose copy of any site documentation that indicates the precise physical location of the proposed Small Generating Facility (e.g., USGS topographic map or other diagram or documentation).

Proposed location of protective interface equipment on property (include address if different from the Interconnection Customer's address) ___________________________________________________

Enclose copy of any site documentation that describes and details the operation of the protection and control schemes.

Is available documentation enclosed? ___Yes ____No

Enclose copies of schematic drawings for all protection and control circuits, relay current circuits, relay potential circuits, and alarm/monitoring circuits (if applicable).

Are schematic drawings enclosed?  ___Yes ____No

Applicant Signature

I hereby certify that, to the best of my knowledge, all the information provided in this Interconnection Request is true and correct.

For Interconnection Customer:  ____________________________________ Date: ____________