## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
23-04125 | 18099097 | 01/28/2023 17:00 | 06/30/2026 15:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
23-18445 | 14853282 | 12/14/2023 06:40 | 12/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
24-13046 |  | 07/29/2024 08:00 | 06/06/2026 15:00 | GRAND COULEE PH: UNIT 22 (UNABLE TO CONDENSE)
24-13950 |  | 08/16/2024 00:06 | 12/01/2025 17:00 | PG&E - PACIRAS CONTROLLER A
25-10212 |  | 06/04/2025 08:00 | 12/25/2025 07:00 | PG&E - TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP |  | COI
25-08863 | 18785118 | 06/16/2025 11:00 | 12/04/2025 16:00 | -EWEB- DANEBO: 115KV BUS BETWEEN AS 4973 AND PCB 4950 | DANEBO: AS 4973 DSC, DANEBO: PCB 4950, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
25-14020 |  | 09/05/2025 08:00 | 12/01/2025 17:00 | PG&E - PACIRAS CONTROLLER B
25-05399 | 17536412 | 09/15/2025 08:00 | 12/09/2025 16:00 | MCNARY: 230KV MAIN BUS SECTION 2 INCLUDING PCBs A-425 AND A-428 | MCNARY PH-MCNARY 3&4 NO 4 230KV LINE, MCNARY-MORROW FLAT NO 2 230KV LINE, MCNARY: 500/230KV TRANSFORMER 2 | FCRPS, GEN, WOM, NWACI
25-01217 | 17305631 | 09/15/2025 08:00 | 12/19/2025 15:00 | STEVENS DRIVE-THAYER DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA
25-14624 | 18740484 | 09/19/2025 07:00 | 12/31/2025 15:00 | CAPTAIN JACK: MOD 4974
25-14886 | 18797215 | 09/29/2025 07:00 | 12/19/2025 17:00 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 4 230KV LINE |  | GEN, NOH, FCRPS
25-12245 |  | 09/30/2025 08:00 | 04/10/2026 16:00 | WAPA- TRACY: 500KV SHUNT CAP PT8A & PT8B |  | COI
25-06271 | 17638049 | 10/14/2025 08:00 | 12/19/2025 15:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1 INCLUDING PCB L-126 (CHIEF JOSEPH-SNOHOMISH 3 OPERATING AT 230KV) | SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH: 345/230KV TRANSFORMER 1 | NOEL, SOC, WOCN, GEN, IROL, NOH, FCRPS, NI
25-13820 |  | 10/27/2025 07:00 | 12/12/2025 16:00 | ROCKY REACH: PCB 7-770
25-00006 | 10955454 | 11/02/2025 22:00 | 12/03/2025 18:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5382 | NOH, WOCN
25-09544 | 17121123 | 11/03/2025 06:30 | 12/19/2025 12:30 | PG&E - TABLE MOUNTAIN-TESLA 500KV LINE
25-10659 | 18263663 | 11/03/2025 08:00 | 01/16/2026 15:00 | HORSE HEAVEN: 230KV MAIN BUS INCLUDING 115KV MAIN & AUX BUS, 230/115KV TRANSFORMER 1, HORSE HEAVEN-BC1022 SECTION OF HORSE HEAVEN-BENTON PUD NO 1 115KV LINE, PCB A-287, PCB B-334 AND 13.8KV STATION SERVICE | HORSE HEAVEN: PCB A-287, HORSE HEAVEN: PCB B-334, HORSE HEAVEN: 230KV MAIN BUS, HORSE HEAVEN: 115KV MAIN BUS, HORSE HEAVEN: 115KV AUX BUS, PRIMARY STATION SERVICE, HORSE HEAVEN: 230/115KV TRANSFORMER 1, HORSE HEAVEN-BPUD NO 1 115KV LINE | SOA, NOPE, WOM, LOAD
25-08871 |  | 11/15/2025 09:00 | 02/01/2026 17:00 | -IPC- LOLO-OXBOW 230KV LINE |  | NWACI, SEIL
25-10540 | 18142035 | 11/16/2025 12:30 | 02/02/2026 09:00 | OSTRANDER: PCB 4432, INCLUDING MOD'S 4433 & 4435 |  | WOCS
25-14426 |  | 11/17/2025 08:00 | 12/10/2025 15:00 | -PSE- CENTRAL KITSAP-VALLEY JUNCTION SECTION OF BPA KITSAP-VALLEY JUNCTION 115KV LINE | KITSAP: PUGET SOUND ENERG 115KV FEEDER 2
25-13706 | 18646226 | 11/17/2025 17:00 | 12/10/2025 17:00 | COLUMBIA: PCB B-404 INCLUDING THE B-1188 M/B SECTIONALIZING DISCONNECT AND THE COLUMBIA-VALHALLA #1 115KV LINE | COLUMBIA: PCB B-404, COLUMBIA: B-1188 MAIN BUS SECTIONALIZING DISC, COLUMBIA-VALHALLA NO 1 115KV LINE | CI, NOH
25-07822 | 17771880 | 11/23/2025 07:00 | 12/19/2025 17:00 | DELENA-CONYERS SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE |  | LOAD, SOA, NOPE
25-00091 | 15649272 | 12/01/2025 06:00 | 12/11/2025 17:00 | JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY 3 500KV LINE | JOHN DAY PH: 500/13.8KV BANK T3, JOHN DAY PH-JOHN DAY NO 3 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD, PDCI
25-14460 |  | 12/01/2025 06:30 | 12/01/2025 16:00 | ROCKY FORD-GRAND COULEE NO 1 230KV LINE | GRAND COULEE: PCB 6486 | NOH, WOCN, NWACI
25-10074 | 18107146 | 12/01/2025 07:00 | 12/01/2025 15:00 | RAVER: PCB 4879 |  | NOEL, RP, SOC, WOCN
25-10870 | 18197244 | 12/01/2025 07:00 | 12/02/2025 16:00 | MCNARY: PCB 4234 |  | WOM, NWACI
25-10436 | 18099102 | 12/01/2025 08:00 | 12/23/2025 15:00 | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE |  | GEN, TCLA, WAWA
25-12334 | 18418175 | 12/01/2025 08:00 | 12/19/2025 15:00 | CARLTON: PCB A-318 CABLING | CARLTON: PCB A-318 | LOAD, NOPE, SOA
25-05287 | 17477427 | 12/01/2025 08:00 | 12/04/2025 15:00 | TAFT: 500KV BUS 1 INCLUDING PCB 4122 | TAFT: PCB 4122, TAFT: 500KV BUS 1 | MT-NW, WOH
25-01333 |  | 12/01/2025 08:00 | 12/12/2025 15:00 | MIDWAY-MOXEE NO 1 115KV LINE | RATTLESNAKE BREA: BENTON REA 115KV FEEDER 1, GOOSE PRAIRIE SOLAR COLLECTOR: UNIT G01, GOOSE PRAIRIE SOLAR COLLECTOR: UNIT G03
25-02455 | 18454056 | 12/01/2025 08:00 | 12/02/2025 15:00 | PONDEROSA: PCB A-1844 |  | COR
25-11346 |  | 12/02/2025 07:00 | 12/02/2025 17:00 | LONGHORN: LONGHORN-LONGWALK NO.1 230KV LINE INCLUDING PCBS A-3081 AND 3084 | LONGHORN-LONG WALK NO 1 230KV LINE
25-10076 | 18121063 | 12/02/2025 07:30 | 12/02/2025 15:00 | ECHO LAKE: PCB 5111 |  | BCHT, BCHW, NOEL, SOC, NI, WOCN
25-14908 | 18806785 | 12/02/2025 09:00 | 12/02/2025 12:00 | NORTH BONNEVILLE: BONNEVILLE PH 1-N. CAMAS NO.1 115KV LINE AGC METER SECONDARY CIRCUITS | BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-NORTH CAMAS NO 1 115KV LINE, BONNEVILLE PH: PCB XW174
25-10035 | 18052029 | 12/02/2025 10:00 | 12/02/2025 10:15 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-14910 |  | 12/02/2025 13:00 | 12/02/2025 15:00 | NORTH BONNEVILLE: BONNEVILLE PH 1-ALCOA NO. 1&2 115KV LINE AGC METER SECONDARY CIRCUITS | BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE, BONNEVILLE PH: PCB XW176 | WOCS, FCRPS
25-10037 | 18052033 | 12/02/2025 14:15 | 12/02/2025 14:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
25-10080 | 18111961 | 12/03/2025 07:00 | 12/03/2025 15:00 | RAVER: PCB 4917, RAVER: 500KV CAP GROUP 1 SECTION 3 |  | NOEL, RP, SOC, IROL, WOCN
25-11356 |  | 12/03/2025 07:00 | 12/03/2025 17:00 | LONGHORN: LONGHORN-HIGH WAY 730 NO.2 230KV LINE INCLUDING PCBS A-3084 AND PCB A-3087 | LONGHORN-HIGHWAY 730 SWITCHYARD NO 2 230KV LINE
25-02453 | 18454060 | 12/03/2025 08:00 | 12/04/2025 15:00 | PONDEROSA: PCB A-1847
25-13608 | 18632548 | 12/03/2025 08:00 | 12/03/2025 11:00 | CUSTER: PCB A-1246 |  | BCHT, BCHW, NOEL, SOC, NI
25-13812 | 18632587 | 12/03/2025 11:30 | 12/03/2025 14:30 | CUSTER: PCB A-1540 |  | BCHT, BCHW, NOEL, SOC, NI
25-13610 | 18632147 | 12/03/2025 15:00 | 12/03/2025 16:00 | CUSTER-PORTAL WAY NO 1 230kV LINE INCLUDING CUSTER: PCBS A-1246 AND A-1540 | CUSTER-PORTAL WAY NO 1 230KV LINE, CUSTER: PCB A-1246, CUSTER: PCB A-1540 | NOEL, SOC, BCHT, BCHW, NI
25-13872 | 18639127 | 12/04/2025 07:00 | 12/04/2025 16:00 | COVINGTON-BETTAS ROAD NO 1 230KV LINE INCLUDING COVINGTON: PCB A-1002 AND 230KV A/B SECTION 3 | COVINGTON-BETTAS ROAD NO 1 230KV LINE, COVINGTON: 230KV AUX BUS SECTION 3, COVINGTON: PCB A-1002, COVINGTON: PCB A-852 | NOEL, SOC, WOCN, IROL
25-13384 | 18676643 | 12/04/2025 07:00 | 12/04/2025 16:00 | OLYMPIA: PCBS A-359 AND A-1773 | OLYMPIA: PCB A-359, OLYMPIA: PCB A-1773, OLYMPIA: 230KV CENTER AUX BUS, OLYMPIA: 230KV WEST AUX BUS, OLYMPIA: PCB A-216, OLYMPIA: PCB A-1770 | NOEL, RP, SOC, WOCN
25-12295 | 18579103 | 12/04/2025 07:00 | 12/08/2025 12:00 | LONGHORN: 500/230KV TRANSFORMER 1
25-13699 | 18604035 | 12/07/2025 22:00 | 12/07/2025 22:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-13388 | 18580195 | 12/08/2025 08:00 | 12/08/2025 16:00 | COSMOPOLIS: PCB B-1324 | COSMOPOLIS-ABERDEEN NO 1 115KV LINE | LOAD, SOA, NOPE
25-05290 | 17477443 | 12/08/2025 08:00 | 12/10/2025 12:00 | TAFT: PCB 4119 |  | MT-NW, WOH
25-09167 | 17929883 | 12/08/2025 08:00 | 12/10/2025 15:00 | MIDWAY: 230/115KV TRANSFORMER 3 | MIDWAY: 230/13.8KV BOOSTER TRANSFORMER 3 | TCLA
25-03462 | 17725406 | 12/08/2025 08:00 | 12/10/2025 15:30 | CAPTAIN JACK: PCB 4926 INCLUDING 500KV CAP GROUP 2 | CAPTAIN JACK: 500KV CAP GROUP 2, CAPTAIN JACK: PCB 4926 | COI, NWACI
25-13483 |  | 12/08/2025 13:00 | 12/12/2025 14:00 | LONGHORN: A-3076 AND A-3077 DISCONNECTS
25-12298 | 18579240 | 12/08/2025 13:00 | 12/12/2025 14:00 | LONGHORN: 500/230KV TRANSFORMER 2
25-14690 | 18758780 | 12/09/2025 07:00 | 12/09/2025 16:00 | SATSOP: PCB A-630 |  | GEN, LOAD
25-10038 | 18052037 | 12/09/2025 10:15 | 12/09/2025 10:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-10039 | 18052040 | 12/09/2025 14:15 | 12/09/2025 14:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
25-13363 | 18762490 | 12/10/2025 07:00 | 12/10/2025 16:00 | SHELTON: PCB A-1751 |  | RP
25-05292 | 17477446 | 12/10/2025 12:30 | 12/10/2025 16:00 | TAFT: PCB 4148 |  | MT-NW, WOH
25-14970 |  | 12/11/2025 07:00 | 12/11/2025 13:00 | COLUMBIA: 115KV NORTH MAIN BUS INCLUDING PCB B-410 | COLUMBIA-ANCIENT LAKE NO 1 115KV LINE, COLUMBIA-VALHALLA NO 2 115KV LINE, COLUMBIA: 115KV NORTH MAIN BUS | CI, NOH
25-14693 | 18758787 | 12/11/2025 07:00 | 12/11/2025 16:00 | SATSOP: PCB A-610 |  | GEN, LOAD
25-12886 | 18500453 | 12/11/2025 08:00 | 12/11/2025 15:00 | TACOMA: PCB A-1068 |  | BCHT, BCHW, RP, NOEL, SOC
25-13886 | 18639357 | 12/11/2025 08:00 | 12/11/2025 11:00 | GRIZZLY: PCB 5040 |  | NWACI, WOJD
25-13889 | 18639361 | 12/11/2025 11:30 | 12/11/2025 15:00 | GRIZZLY: PCB 4052 |  | NWACI
25-13700 | 18604051 | 12/11/2025 17:30 | 12/11/2025 18:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
25-11662 | 18322454 | 12/12/2025 18:30 | 12/12/2025 19:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-13899 | 18508760 | 12/15/2025 07:30 | 12/18/2025 15:30 | PG&E - TABLE MOUNTAIN: VACA DIXON SERIES CAP | TABLE MOUNTAIN: VACA DIXON 500KV LINE SERIES CAP | COI
25-08064 | 17853346 | 12/15/2025 08:00 | 12/16/2025 15:30 | CAPTAIN JACK: PCB 4980 |  | NWACI, COI
25-14206 | 18685939 | 12/15/2025 08:30 | 12/15/2025 15:30 | USK: PCB A-955 BFR | USK: PCB A-955 | SOB
25-02450 | 18454011 | 12/16/2025 08:00 | 12/16/2025 15:00 | PONDEROSA: PCB A-1821 |  | COR, NWACI
25-14216 | 18685951 | 12/16/2025 08:30 | 12/16/2025 15:30 | USK: PCB A-958 BFR | USK: PCB A-958 | SOB
25-10195 | 18065396 | 12/16/2025 10:00 | 12/16/2025 10:15 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-10196 | 18065400 | 12/16/2025 14:15 | 12/16/2025 14:30 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
25-01413 | 17037325 | 12/17/2025 07:00 | 12/17/2025 16:00 | -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 | BONNEVILLE PH: PCB XW102, BONNEVILLE PH: PCB XW106, BONNEVILLE PH: PCB XW174, BONNEVILLE PH: PCB XW176, BONNEVILLE PH: PCB XW178, BONNEVILLE PH: PCB XW151
25-12742 | 18486271 | 12/17/2025 08:00 | 12/18/2025 15:00 | TAFT: PCB 4148 BFR | TAFT: PCB 4148 | MT-NW, WOH
25-14218 | 18685960 | 12/17/2025 08:30 | 12/17/2025 15:30 | USK: PCB A-953 BFR | USK: PCB A-953 | SOB
25-13459 |  | 12/18/2025 07:30 | 12/18/2025 16:00 | ALLSTON: 230/115KV TRANSFORMER 3 INCLUDING PCB'S A-1365 B-1924 AND ALTERNATE SS TRANSFORMER | ALLSTON: 230/115KV TRANSFORMER 3, ALLSTON: PCB A-1365, ALLSTON: PCB B-1924 | LOAD, SOA, NOPE
25-08289 | 17121225 | 12/19/2025 15:00 | 02/12/2026 16:00 | PG&E - TESLA-TRACY 500KV LINE
25-13900 | 18403875 | 12/20/2025 07:00 | 12/30/2025 18:00 | PG&E - TABLE MOUNTAIN-VACA 500KV LINE |  | COI
25-14971 |  | 12/23/2025 07:00 | 12/23/2025 12:00 | COLUMBIA: 115KV NORTH MAIN BUS | COLUMBIA-ANCIENT LAKE NO 1 115KV LINE, COLUMBIA-VALHALLA NO 2 115KV LINE | CI, NOH
25-10040 | 18052045 | 12/23/2025 10:00 | 12/23/2025 10:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-10041 | 18052047 | 12/23/2025 14:15 | 12/23/2025 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
25-08694 | 17810358 | 12/25/2025 08:00 | 12/25/2025 16:00 | BELL (PGE)-GRESHAM 115KV LINE |  | WOCS, NOPE, LOAD
25-10042 | 18052053 | 12/30/2025 10:00 | 12/30/2025 10:15 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
25-10043 | 18052057 | 12/30/2025 14:15 | 12/30/2025 14:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN