## Request List
Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
23-16749 |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
25-11790 | 18336659 | 07/16/2025 08:00 | 12/31/2028 15:00 | VALHALLA: CHELAN CO PUD 115KV FEEDER 1
26-00143 | 18142640 | 07/27/2026 07:00 | 01/21/2027 15:00 | HUNGRY HORSE PH: PCBS 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT
26-00593 | 18714748 | 08/18/2026 18:00 | 12/11/2026 17:00 | SNOHOMISH: 230/115KV TRANSFORMER 3 | SNOHOMISH: PCB A-196, SNOHOMISH: PCB B-480 | NOEL, SOC, LOAD
26-00197 |  | 10/16/2026 08:00 | 12/15/2026 16:00 | -IPCO- LOLO-OXBOW 230KV LINE |  | WOH
26-00244 | 18727121 | 12/12/2026 07:00 | 12/15/2026 16:00 | SNOHOMISH: 230/115KV TRANSFORMER 3 INCLUDING THE 115KV MAIN BUS SECTION 3, PCB B-480 AND PCB B-488 | SNOHOMISH: PCB A-196, SNOHOMISH: PCB B-480, SNOHOMISH: PCB B-488, SNOHOMISH: 115KV MAIN BUS SECTION 3, SNOHOMISH: 230/115KV TRANSFORMER 3, SNOHOMISH: SNOHOMISH CO PUD 115KV FEEDER 2, SNOHOMISH: SNOHOMISH CO PUD 115KV FEEDER 3, SNOHOMISH: SNOHOMISH CO PUD 115KV FEEDER 7, SNOHOMISH-BEVERLY PARK NO 3 115KV LINE | NOEL, SOC, LOAD
26-00302 | 18728323 | 12/16/2026 07:00 | 12/19/2026 16:00 | SNOHOMISH: 230/115KV TRANSFORMER 3 INCLUDING PCB A-196 AND THE 230KV AUX BUS SECTIONS 1, 2 AND 3 | SNOHOMISH: 230/115KV TRANSFORMER 3, SNOHOMISH: PCB A-196, SNOHOMISH: 230KV AUX BUS SECTION 1, SNOHOMISH: 230KV AUX BUS SECTION 2, SNOHOMISH: 230KV AUX BUS SECTION 3 | LOAD, NOEL, SOC
26-00190 | 16600336 | 12/25/2026 07:00 | 01/01/2027 16:00 | PGE - CANEMAH-CARVER 115KV LINE | CANEMAH (PGE)-CARVER 115KV LINE | WOCS
26-00191 | 14654704 | 12/25/2026 08:00 | 12/26/2026 16:00 | PGE - CANEMEH-MCLOUGHLIN 115KV LINE | CANEMAH (PGE)-MCLOUGHLIN 115 KV LINE | WOCS
26-00192 | 14451125 | 12/25/2026 08:00 | 12/25/2026 14:30 | PGE - DAYTON-MCMINNVILLE-NEWBERG 115KV LINE | DAYTON-MCMINNVILLE-NEWBERG 115KV LINE (DAYTON-NEWBERG SECTION) | NOPE, SOA, LOAD
26-00427 |  | 12/28/2026 08:00 | 12/28/2026 17:00 | THE DALLES: 115KV MAIN BUS INCLUDING NORTHERN WASCO PUD 115/12.5 KV TRANSFORMER #2 AND 115KV AUX BUS | THE DALLES: 115KV AUX BUS, THE DALLES: 115/12.5KV TRANSFORMER 1, THE DALLES: 12.5KV MAIN BUS SECTION 1, THE DALLES: 12.5KV MAIN BUS SECTION 2, THE DALLES: NORTHRN WASCO PUD 115KV FEEDER 2, HOOD RIVER-THE DALLES NO 1 115KV LINE, THE DALLES-DISCOVERY NO 1 115KV LINE, THE DALLES: WASCO ELEC COOP 12.5KV FEEDER 1 BY NORTHRN WASCO PUD, THE DALLES: TD IRRIGATION DIS 12.5KV FEEDER 1, THE DALLES: NORTHRN WASCO PUD 12.5KV FEEDER 2, THE DALLES: 115KV MAIN BUS, SECOND STREET-THE DALLES SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE | BGEDY, WOCS, FCRPS, GEN, LOAD
26-00758 |  | 12/28/2026 10:00 | 12/28/2026 15:00 | THE DALLES: TEST ENERGIZE THE NEW PCB B-1112 | DISCOVERY: PCB B-2012, THE DALLES: PCB B-1104, THE DALLES: B-1112 T/S DISC, THE DALLES: B-1112 MAIN BUS DISC, THE DALLES: B-1112 AUX BUS DISC, THE DALLES: PCB B-1112