## Request List
0 | Request# | Start | End | Main Element Impacted | Elements Involved | CAISO# | Path Affected
1 | 20-00283 | 12/31/2020 15:00 | 12/15/2031 23:59 | PAUL: 4569 TERMINAL OF PAUL-CENTRALIA THERMAL PH NO 1 500KV LINE | PAUL: 4569 TERMINAL OF PAUL-CENTRALIA THERMAL PH NO 1 500KV LINE | 11219795 | GEN, PA
2 | 23-04125 | 01/28/2023 17:00 | 06/30/2026 15:00 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | 18099097 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
3 | 23-16749 | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 |  | CI
4 | 25-04441 | 02/01/2025 08:00 | 06/30/2026 12:30 | PG&E: TABLE MOUNTAIN SERIES CAPACITOR - ROUND MOUNTAIN NO. 1 |  |  | COI
5 | 25-06917 | 06/02/2025 08:00 | 04/02/2026 19:00 | -COWLITZ- 7TH AVE-EAST KELSO 115KV LINE | 7TH AVE-EAST KELSO 115KV LINE | 17616764 | LOAD
6 | 25-10823 | 06/23/2025 08:00 | 03/31/2026 16:00 | ECHO LAKE: 500KV CAP GROUP 2 INCLUDING PCB 5127 | ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | 18178294 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
7 | 25-10824 | 06/23/2025 08:00 | 03/31/2026 16:00 | ECHO LAKE: 500KV CAP GROUP 1 INCLUDING PCB 5125 | ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | 18178297 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
8 | 25-12245 | 09/30/2025 08:00 | 04/10/2026 16:00 | WAPA- TRACY: 500KV SHUNT CAP PT8A & PT8B |  |  | COI
9 | 25-15505 | 10/16/2025 05:15 | 07/17/2026 16:00 | SEDRO WOOLLEY-BOTHELL-HORSE RANCH TAP 230KV LINE |  |  | SOC, NOEL
10 | 25-15771 | 10/23/2025 08:00 | 12/31/2026 15:00 | MALIN: MOD 4341 | MALIN: 500KV REACTOR 2, MALIN: PCB 4037 | 18942085 | COI, NWACI
11 | 25-14320 | 11/01/2025 00:01 | 03/31/2026 23:59 | BREWSTER-FOSTER CREEK 115KV LINE |  | 18697895 | OKLA, NOH
12 | 25-14326 | 11/01/2025 00:01 | 03/31/2026 23:59 | BREWSTER-OKANOGAN 115KV LINE |  | 18698092 | OKLA, NOH
13 | 25-15776 | 11/04/2025 08:00 | 12/31/2026 17:00 | MALIN: 500KV REACTOR 2, MALIN: PCB 4037 |  |  | COI, NWACI
14 | 25-08871 | 11/15/2025 08:00 | 02/13/2026 16:00 | -IPC- LOLO-OXBOW 230KV LINE |  |  | NWACI, SEIL
15 | 25-15102 | 12/01/2025 08:00 | 03/31/2026 15:00 | PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE |  | 18826782 | SOA, WOCS, NOPE
16 | 25-16326 | 12/10/2025 03:00 | 03/04/2026 17:00 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 3 230KV LINE |  | 19029855 | GEN, NOH, FCRPS
17 | 26-00142 | 01/05/2026 07:00 | 02/16/2026 17:00 | PEARL: A-1165 TERMINAL OF PEARL TAP TO PGE MCLOUGHIN-SHERWOOD NO 1 230KV LINE | PEARL TAP TO MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, PEARL: PCB A-1165 | 18012196 | SOA, WOCS, NOPE
18 | 26-00084 | 01/05/2026 08:00 | 02/27/2026 15:00 | MIST-DRISCOLL SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE INCLUDING DRISCOLL PCB B-2067 & PCB B-2064 | MIST-DRISCOLL SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE | 18150927 | LOAD, SOA, NOPE
19 | 26-00638 | 01/16/2026 07:00 | 02/21/2026 08:00 | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE |  | 18134687 | COI
20 | 26-00294 | 01/19/2026 08:00 | 05/01/2026 15:00 | SNYDER-STEVENS DRIVE SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE, INCLUDING STEVENS DRIVE B-937, B-1024, B-1026, B-1028, B-1027, B-1025, B-1563, B-2196 (NEW), B-2197(NEW) DISCONNECTS, STEVENS DRIVE BANK 2 AND 3 AND THE FIRST STREET-STEVENS DRIVE SECTION OF THE WHITE BLUFFS-RICHLAND NO 1 115KV LINE. | SNYDER-STEVENS DRIVE SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE, FIRST STREET-STEVENS DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, STEVENS DRIVE: CITY OF RICHLAND 115KV FEEDER 1, STEVENS DRIVE: CITY OF RICHLAND 115KV FEEDER 3 | 18713031 | LOAD, TCLA
21 | 26-00334 | 01/23/2026 17:00 | 03/24/2026 16:30 | OSTRANDER-TROUTDALE NO 1 500KV LINE INCLUDING OSTRANDER: PCBS 5139 AND 4432 | OSTRANDER-TROUTDALE NO 1 500KV LINE, OSTRANDER: PCB 5139, OSTRANDER: PCB 4432 | 18464083 | SIG, SOA, WOCS, NOPE
22 | 26-00172 | 01/26/2026 05:00 | 02/01/2026 18:00 | CGS: DG -3 OUTAGE -STAY NORMAL- | MIDWAY-ASHE NO 1 230KV LINE, BENTON-WHITE BLUFFS NO 2 115KV LINE, ASHE-WHITE BLUFFS NO 1 230KV LINE, COLUMBIA GENERATING STATION-ASHE NO 2 230KV LINE |  | GEN, FCRPS, LOAD, SIG
23 | 26-01040 | 01/26/2026 07:00 | 02/05/2026 17:00 | JOHN DAY: 4138/4139 TERMINAL OF JOHN DAY PH-JOHN DAY NO 1 500KV LINE | JOHN DAY PH-JOHN DAY NO 1 500KV LINE | 18969182 | GEN, NWACI, FCRPS, SIG, WOJD
24 | 26-00471 | 01/26/2026 08:00 | 02/05/2026 15:00 | ASHE: PCB 4937 BFR | ASHE: PCB 4937 | 18579912 | NOH, NWACI, FCRPS
25 | 26-00482 | 01/26/2026 08:00 | 02/12/2026 15:30 | BIG EDDY: PCB 4202 BFR | BIG EDDY: PCB 4202 | 18594501 | PDCI, WOCS, WOJD, BGEDY
26 | 26-01316 | 01/29/2026 07:00 | 02/11/2026 14:00 | -MITIGATION- COLUMBIA FALLS: PCB B-1034 | COLUMBIA FALLS: PCB B-1034, COLUMBIA FALLS-KALISPELL NO 1 115KV LINE | 19060196 | GEN, LOAD, MT-NW, FLAT
27 | 26-01108 | 01/29/2026 07:00 | 02/11/2026 14:00 | COLUMBIA FALLS:230/115KV TRANSFORMER 2 INCLUDING 230KV PCB A-309 AND 115KV PCB B-1037 | COLUMBIA FALLS: PCB A-309, COLUMBIA FALLS: PCB B-1037, COLUMBIA FALLS: 230/115KV TRANSFORMER 2 | 19059400 | MT-NW, FLAT
28 | 25-00483 | 02/01/2026 22:00 | 02/01/2026 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | 16463596 | GEN, NOH, WOCN
29 | 26-00063 | 02/02/2026 07:00 | 04/09/2026 15:00 | -USBR- HUNGRY HORSE: PCBS 2182 AND 2382 | HUNGRY HORSE PH: PCB 2182, HUNGRY HORSE PH: PCB 2382 | 17418616 | WOH, FLAT
30 | 25-13360 | 02/02/2026 07:30 | 02/02/2026 16:00 | SHELTON: PCB A-79 |  | 18647838 | RP
31 | 26-00820 | 02/02/2026 08:00 | 02/20/2026 15:00 | CARLTON-TILLAMOOK NO 1 230KV LINE INCLUDING PCB A-315 | TILLAMOOK: 230/115KV TRANSFORMER 2, CARLTON: PCB A-315 | 18869162 | LOAD, SOA, NOPE
32 | 26-00295 | 02/02/2026 08:00 | 02/04/2026 15:00 | CUSTER: PCB 4274 BFR | CUSTER: 500KV REACTOR 1, CUSTER: PCB 4274 | 18586567 | NOEL, SOC, BCHT, BCHW, NI
33 | 26-00907 | 02/02/2026 08:00 | 02/03/2026 15:00 | ALCOA: PCB B-224 RELAYS | ALCOA: PCB B-224 | 18962410 | SOA, GEN, LOAD, NOPE
34 | 26-00345 | 02/02/2026 08:00 | 02/04/2026 15:00 | MARION: PCB 4365 |  | 18509263 | NWACI, WOCS
35 | 25-02150 | 02/02/2026 09:00 | 02/05/2026 15:00 | GRIZZLY: PCB 5028 |  | 17288019 | NWACI, WOJD
36 | 26-00083 | 02/03/2026 07:30 | 02/03/2026 15:00 | ROSS: 230/115KV TRANSFORMER 2 | ROSS: PCB A-28, ROSS: PCB B-4 | 17608655 | LOAD, SOA, NOPE
37 | 26-00318 | 02/03/2026 10:00 | 02/03/2026 10:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | 18462619 | GEN, NOH, WOCN
38 | 26-00319 | 02/03/2026 14:15 | 02/03/2026 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | 18462624 | GEN, NOH, WOCN
39 | 26-00908 | 02/04/2026 08:00 | 02/05/2026 15:00 | ALCOA: PCB B-234 RELAYS | ALCOA: PCB B-234 | 18962417 | GEN, LOAD, SOA, NOPE
40 | 25-00484 | 02/05/2026 17:30 | 02/05/2026 18:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | 16463602 | GEN, NOH, WOCN
41 | 26-00782 | 02/09/2026 07:30 | 02/09/2026 15:00 | BELL: PCB A-377 | BELL: 230KV MAIN BUS RING SECTION | 18867462 | MT-NW, WOH
42 | 26-00314 | 02/09/2026 08:00 | 02/11/2026 16:00 | MILTON-STATELINE SECTION OF THE WALLA WALLA-PENDLETON #1 69KV LINE | LAGOON-STATELINE SECTION OF WALLA WALLA-PENDLETON NO 1 69KV LINE, MILTON-LAGOON SECTION OF WALLA WALLA-PENDLETON NO 1 69KV LINE, LAGOON: MILTON-FREEWATER 69KV FEEDER 1 |  | GEN, WOM
43 | 25-13303 | 02/09/2026 08:00 | 02/09/2026 15:00 | CENTRAL FERRY: PCB 5415 |  | 18553135 | WOH, WOLM
44 | 26-01457 | 02/09/2026 08:00 | 02/09/2026 16:30 | SANTIAM: 230KV REACTIVE GROUP 1 INCLUDING 230KV AUX BUS AND PCB A-540 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1, SANTIAM: PCB A-502, SANTIAM: PCB A-504, SANTIAM: PCB A-540, SANTIAM: PCB A-530 | 19099282 | SLAL, NWACI, SCORC
45 | 26-00347 | 02/09/2026 08:00 | 02/10/2026 16:00 | MARION: 500KV REACTOR 1 INCLUDING PCB 4012 | MARION: 500KV REACTOR 1, MARION: PCB 4012 | 18530123 | NWACI
46 | 26-01225 | 02/10/2026 06:30 | 02/10/2026 15:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER NO 1 INCLUDING PCB A-586 INCLUDING (FORCES OUT CHJO-SNOH NO 3 345KV LINE) | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, SNOHOMISH: PCB A-190, CHIEF JOSEPH: PCB A-586, CHIEF JOSEPH: 345/230KV TRANSFORMER 1 | 19053182 | WOCN, NOH, GEN, IROL, NOEL, SOC, FCRPS, NI
47 | 26-01421 | 02/10/2026 08:00 | 02/10/2026 15:00 | SATSOP: PCB A-613 |  | 19091721 | GEN, LOAD
48 | 26-00505 | 02/10/2026 08:00 | 02/10/2026 15:00 | PONDEROSA: 230KV NORTH NON-GIS BUS SECTION INCLUDING PCB'S A-1821, A-1812, A-1971 AND NEW PCB A-1841 | PONDEROSA: PCB A-1812, PONDEROSA: PCB A-1821, PONDEROSA: PCB A-1841, PONDEROSA: PCB A-1971, PONDEROSA: 230KV NORTH NON-GIS BUS SECTION | 18683252 | COR, NWACI, LOAD
49 | 26-01458 | 02/10/2026 08:30 | 02/10/2026 15:00 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: PCB A-502 | 19099086 | SLAL, NWACI
50 | 26-00320 | 02/10/2026 10:00 | 02/10/2026 10:15 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | 18462630 | GEN, NOH, WOCN
51 | 26-00785 | 02/10/2026 12:00 | 02/10/2026 16:00 | BELL: PCB A-375 |  | 18867558 | MT-NW, WOH
52 | 26-00321 | 02/10/2026 14:15 | 02/10/2026 14:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | 18462644 | GEN, NOH, WOCN
53 | 26-01422 | 02/11/2026 07:00 | 02/11/2026 16:00 | OLYMPIA: PCB A-349 INCLUDING 230KV REACTOR 1 | OLYMPIA: 230KV REACTOR 1, OLYMPIA: PCB A-349 | 19117667 | NOEL, RP, SOC, WOCN
54 | 26-01109 | 02/11/2026 07:00 | 02/17/2026 14:00 | COLUMBIA FALLS: PCB A-313 ALARM AND CONTROL CIRCUITS | COLUMBIA FALLS: PCB A-313 | 19080576 | MT-NW, FCRPS, GEN, LOAD, FLAT
55 | 26-00348 | 02/11/2026 08:00 | 02/12/2026 15:00 | MARION: 500KV REACTOR 2 INCLUDING PCB 4020 | MARION: 500KV REACTOR 2, MARION: PCB 4020 | 18530792 | NWACI
56 | 26-00910 | 02/12/2026 08:00 | 02/12/2026 15:00 | ROSS-ALCOA NO 2 & 4 115KV LINE INCLUDING ALCOA: PCBS B-224, B-234 AND ROSS: PCBS B-10 AND B-24 | ALCOA: PCB B-224, ALCOA: PCB B-234, ROSS: PCB B-10, ROSS: PCB B-24, ROSS-ALCOA NO 2&4 115KV LINE | 18967787 | SOA, GEN, LOAD, NOPE
57 | 26-01462 | 02/12/2026 08:00 | 02/12/2026 16:00 | SANTIAM: PCB A-520 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 REACTOR 1, SANTIAM: PCB A-542, SANTIAM: PCB A-530 | 19099387 | SLAL, NWACI
58 | 26-00181 | 02/12/2026 08:00 | 02/12/2026 15:00 | RAVER-COVINGTON NO 2 500KV LINE INCLUDING COVINGTON 500/230KV BANK 5 AND PCB A-76 | COVINGTON: 500/230KV TRANSFORMER 5, COVINGTON: PCB A-76, RAVER-COVINGTON NO 2 500KV LINE | 18105996 | NOEL, RP, SIG, SOC, NI, WOCN, IROL
59 | 25-05880 | 02/13/2026 16:30 | 02/13/2026 17:00 | BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | THE DALLES PH-BIG EDDY NO 6 230KV LINE | 18854836 | GEN, FCRPS
60 | 26-00209 | 02/16/2026 08:00 | 02/18/2026 15:00 | RAVER: PCB 4876 BFR | RAVER: PCB 4876 | 18500760 | NOEL, RP, SOC, WOCN
61 | 26-00472 | 02/16/2026 08:00 | 02/26/2026 15:00 | ASHE: PCB 4940 BFR | ASHE: PCB 4940 | 18579941 | NWACI, WOCS, WOJD, WOM, FCRPS
62 | 26-00394 | 02/17/2026 07:30 | 02/18/2026 16:00 | MARION: PCB 4355 |  | 18530821 | NWACI, NOPE, WOCS
63 | 26-01541 | 02/17/2026 08:00 | 02/22/2026 16:00 | PGE - KEELER-HORIZON 1 230KV LINE |  | 19119770 | SOA, NOPE, LOAD
64 | 26-01539 | 02/17/2026 08:00 | 02/22/2026 16:00 | KEELER: A-870 TERMINAL OF KEELER-PGE HORIZON NO 1 230KV LINE | KEELER: PCB A-870, KEELER-PGE HORIZON NO 1 230KV LINE | 19119851 | SOA, NOPE
65 | 26-00483 | 02/17/2026 08:00 | 03/05/2026 15:30 | BIG EDDY: PCB 4866 BFR | BIG EDDY: PCB 4866 | 18594519 | GEN, PDCI, WOJD, BGEDY
66 | 26-00839 | 02/17/2026 08:00 | 03/02/2026 17:30 | SICKLER: 500/230KV TRANSFORMER 1, INCLUDING SPARE PHASE | SICKLER-DOUGLAS SWITCHYARD NO 1 230KV LINE | 18977414 | CI, GEN, SIG, NOH
67 | 26-00322 | 02/17/2026 10:00 | 02/17/2026 10:15 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | 18462651 | GEN, NOH, WOCN
68 | 26-00843 | 02/17/2026 12:00 | 02/17/2026 16:00 | BELL: PCB A-556 | BELL: 230KV CAP GROUP 1 | 18893959 | MT-NW, WOH
69 | 26-00323 | 02/17/2026 14:15 | 02/17/2026 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | 18462663 | GEN, NOH, WOCN
70 | 26-00369 | 02/18/2026 15:00 | 02/18/2026 15:30 | RAVER: PCB 4879 |  | 18500929 | NOEL, RP, SOC, WOCN
71 | 26-00028 | 02/22/2026 22:00 | 03/26/2026 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382 | 11095438 | NOH, WOCN, COI, NWACI, PDCI
72 | 26-01356 | 02/23/2026 07:00 | 02/24/2026 17:00 | KEELER-OREGON CITY NO 2 115KV LINE | KEELER: PCB B-1080, OREGON CITY: PCB B-260 | 19079656 | LOAD, SOA, NOPE
73 | 26-00059 | 02/23/2026 07:00 | 05/29/2026 15:00 | MIDPOINT (IPC)-HEMINGWAY 500KV LINE |  |  | ID-NW, NWACI
74 | 25-01945 | 02/23/2026 07:00 | 05/29/2026 16:00 | MIDPOINT (IPC)-HEMINGWAY 500KV LINE |  |  | ID-NW, NWACI
75 | 26-01426 | 02/23/2026 07:30 | 02/24/2026 15:00 | SHELTON: PCB A-1757 |  | 19099077 | RP
76 | 26-00395 | 02/23/2026 07:30 | 02/24/2026 16:00 | MARION: PCB 4946 |  | 18530858 | NWACI, NOPE, WOCS
77 | 25-05461 | 02/23/2026 08:00 | 03/06/2026 17:00 | THE DALLES PH-BIG EDDY NO. 5 230KV LINE INCLUDING BIG EDDY PCB A-836 AND 230KV A/B SECTION 3 | THE DALLES PH-BIG EDDY NO 5 230KV LINE, BIG EDDY: PCB A-836, BIG EDDY: 230KV AUX BUS SECTION 3 | 17456424 | GEN, FCRPS, PDCI, WOJD, NWACI
78 | 26-00846 | 02/23/2026 08:00 | 02/23/2026 15:00 | BELL: PCBS A-571 AND A-573 | BELL: PCB A-571, BELL: PCB A-573 | 18895133 | MT-NW, WOH
79 | 26-00436 | 02/23/2026 08:00 | 02/24/2026 15:00 | RAVER: PCB 4792 |  | 18544200 | NOEL, RP, SOC, WOCN
80 | 26-00093 | 02/23/2026 08:00 | 02/25/2026 16:00 | COYOTE SPRINGS: PCB 5187 BFR RELAY | COYOTE SPRINGS: PCB 5187 | 17725666 | WOLM, WOM
81 | 25-00151 | 02/23/2026 08:00 | 02/25/2026 15:00 | CHIEF JOSEPH: PCB 4594 BFR AND PCB DIFFERENTIAL RELAYS | CHIEF JOSEPH: PCB 4594 | 15837845 | NOEL, SOC, WOCN, NOH
82 | 26-00835 | 02/24/2026 06:00 | 02/26/2026 17:30 | PG&E - ROUND MOUNTAIN: TABLE MOUNTAIN 2 500KV LINE SERIES CAP |  | 18849496 | COI
83 | 26-00324 | 02/24/2026 10:00 | 02/24/2026 10:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | 18462666 | GEN, NOH, WOCN
84 | 26-00325 | 02/24/2026 14:15 | 02/24/2026 14:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | 18462690 | GEN, NOH, WOCN
85 | 26-00396 | 02/25/2026 07:30 | 02/26/2026 16:00 | MARION: PCB 4371 |  | 18530923 | NWACI, WOCS
86 | 26-01428 | 02/25/2026 07:30 | 02/26/2026 15:00 | SHELTON: PCB A-1661 |  | 19099079 | RP
87 | 26-01328 | 02/25/2026 08:00 | 02/25/2026 16:00 | ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 INCLUDING PCB A-1720 | ROCK CREEK: PCB A-1720, ROCK CREEK: 230KV CAP GROUP 1 SECTION 2 | 19081336 | RKCR
88 | 26-00437 | 02/25/2026 08:00 | 02/25/2026 15:00 | ECHO LAKE: PCB 5117 |  | 18544315 | BCHT, BCHW, NOEL, SOC, WOCN, NI
89 | 25-00152 | 02/25/2026 08:00 | 02/25/2026 12:00 | CHIEF JOSEPH: PCB 4594 |  |  | NOEL, SOC, WOCN, NOH
90 | 25-00153 | 02/25/2026 12:30 | 02/25/2026 14:00 | CHIEF JOSEPH: PCB 4598 |  | 15837628 | NOEL, SOC, WOCN, NOH
91 | 26-00085 | 02/27/2026 15:00 | 03/01/2026 17:00 | CONYERS-DRISCOLL SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE | CONYERS-MIST SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, MIST-DRISCOLL SECTION OF ALLSTON-DRISCOLL NO 2 115KV LINE, MIST TAP TO ALLSTON-DRISCOLL NO 2 115KV LINE, MIST: WEST OREGON ELEC 115KV FEEDER 1 | 18150942 | LOAD, SOA, NOPE