## Request List
Request# | CAISO# | CAISO Status | Start | End | Main Element Impacted | Elements Involved | Path Affected
17-00008 |  |  | 08/25/2017 16:30 | 02/28/2030 17:00 | MCC - OLYMPIA-GRAND COULEE NO 1 287KV LINE - OPERATING AT 230KV | MCC - OLYMPIA-GRAND COULEE NO 1 287KV LINE - OPERATING AT 230KV
23-16749 |  |  | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
24-06648 | 16848796 | OUT | 03/20/2024 13:25 | 12/31/2026 15:00 | PG&E - PACIRAS CONTROLLER B
24-13046 |  |  | 07/29/2024 08:00 | 06/06/2026 15:00 | GRAND COULEE PH: UNIT 22 (UNABLE TO CONDENSE)
26-00049 | 17268866 | SUBMITTED | 05/11/2026 07:00 | 07/03/2026 16:30 | TACOMA-COVINGTON NO 3 230KV LINE |  | NOEL, RP, SOC
26-00050 | 17268871 | SUBMITTED | 05/11/2026 07:00 | 07/03/2026 16:30 | TACOMA-COVINGTON NO 4 230KV LINE |  | NOEL, RP, SOC