## Request List
Request# | Start | End | Main Element Impacted | Path Affected | Elements Involved | CAISO#
23-16749 | 10/26/2023 07:00 | 06/01/2028 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | CI | VALHALLA: CHELAN CO PUD 115KV FEEDER T1
24-10016 | 05/28/2024 13:30 | 05/27/2027 15:00 | GRAND COULEE: 230/115KV TRANSFORMER KX2A
25-11191 | 07/02/2025 11:00 | 12/31/2026 15:00 | THURSTON-MCKENZIE (EWEB) NO 1 115KV LINE | EWEB |  | 18237263
25-11790 | 07/16/2025 08:00 | 12/31/2028 15:00 | VALHALLA: CHELAN CO PUD 115KV FEEDER 1 |  |  | 18336659
26-00143 | 07/27/2026 07:00 | 01/21/2027 15:00 | HUNGRY HORSE PH: PCBS 2282 AND 2382 | WOH, FLAT | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382 | 18142640
26-00197 | 10/16/2026 08:00 | 12/15/2026 16:00 | -IPCO- LOLO-OXBOW 230KV LINE | WOH
26-00017 | 10/18/2026 22:00 | 11/19/2026 17:00 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN | -USBR- GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5382 | 10955451
26-00234 | 11/16/2026 08:00 | 11/20/2026 16:00 | THE DALLES: 115KV MAIN BUS INCLUDING NWCPUD 115/12.5 KV TRANSFORMER #2, 115KV AUX BUS AND -NEW- B-1239 MAIN BUS AND AUX BUS DISCONNECTS | BGEDY, WOCS, FCRPS, GEN, LOAD | THE DALLES: 115KV AUX BUS, THE DALLES: 115/12.5KV TRANSFORMER 1, THE DALLES: 12.5KV MAIN BUS SECTION 1, THE DALLES: 12.5KV MAIN BUS SECTION 2, THE DALLES: PCB B-1104, THE DALLES: PCB B-1106, THE DALLES: PCB B-1110, THE DALLES: NORTHRN WASCO PUD 115KV FEEDER 2, HOOD RIVER-THE DALLES NO 1 115KV LINE, THE DALLES-DISCOVERY NO 1 115KV LINE, THE DALLES: WASCO ELEC COOP 12.5KV FEEDER 1 BY NORTHRN WASCO PUD, THE DALLES: TD IRRIGATION DIS 12.5KV FEEDER 1, THE DALLES: NORTHRN WASCO PUD 12.5KV FEEDER 2, THE DALLES: 115KV MAIN BUS, SECOND STREET-THE DALLES SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE