## Slide 1: TOP & TP CFR Annual Customer Workshop
August 28, 2025

## Slide 2: WELCOME
2
2

## Slide 3: TOP AGENDA
3
3
  Welcome/Introductions
  Safety Moment
  Operation Coordination Sessions
  TOPIC V12 Review
  TOP Key Dates
  ASR/ADE
  FRR/SFRR
  System Equipment Change Form
  2026 TOP Cost Allocation
  Questions | Break

## Slide 4: SAFETY STARTS WITH YOU
4
4

## Slide 5: OPERATION COORDINATION SESSIONS
5
5
2025:
Cowlitz
Klickitat
Umatilla
Whatcom
Lewis (10/28)
Grays Harbor (10/29)
2026: Target Month
Navy (Feb)
Lower Valley (April)
N.Wasco (June)
Okanogan (Aug)
Pend Oreille (Oct)
EWEB (Nov)
Clark (Dec)

## Slide 6: TOPIC v12 UPCOMING CHANGES
6
6
Outage Coordination:
  General Responsibilities
  Appendix 2 Contacts
TADs Reporting:
  Providing more clarity on process
Emergency Operations (EOP-011):
  New section
System Equipment Change Process:
  Broke out into sections for easier reference
  Refreshing form to better align with BPA’s data flow
Cost Allocation:
  New process
Customer Coordination Sessions:
  Additional meetings
Failure to Comply:
  Violation timing

## Slide 7: TOP KEY DATES
7
7
TOP External Site
January
  New Billing Allocation Effective
  Section 5c Compliance Validation
March
  Section 4c TOP Services Letter
August
  Customer Workshop
    2026 Billing Allocation tip out
    TOPIC V12 update tip out
September
  TOPIC V12 open Customer review period
October
  Annual TOP Billing Send outs
  TOPIC V12 Customer review period closes
  Customer Equipment & Billing validations
November
  TOPIC V12 final

## Slide 8: 2026 ANNUAL SYSTEM REVIEW LETTER TIMELINE
8
8
Mid-January
  CSRP shares draft (.doc version)
  Feedback/Question period
February
  CSRP prepares final version (pdf)
March-April
  Finalized

## Slide 9: 2025 ANNUAL DATA EXCHANGE
9
9
Customer | Send Date | Requested Due Date
Clark Public Utilities | 7/9/2025 | Received
Cowlitz County PUD No. 1 | 7/9/2025 | Received
Eugene Water & Electric Board | 10/2/2025 | 11/2/2025
Grays Harbor County PUD | 10/2/2025 | 11/2/2025
Klickitat County PUD | 8/4/2025 | 9/5/2025
Public Utility District #1 of Lewis County | 10/2/2025 | 11/2/2025
Lower Valley Energy | 10/2/2025 | 11/2/2025
Northern Wasco County Peoples Utility District | 9/2/2025 | 10/2/2025
Public Utility District No. 1 of Okanogan County | 10/2/2025 | 11/2/2025
Pend Oreille County PUD No. 1 | 9/2/2025 | 10/2/2025
Umatilla Electric Cooperative | 11/3/2025 | 12/3/2025
US Navy, Naval Base Kitsap | 10/2/2025 | 11/2/2025
Public Utility District No. 1 of Whatcom County | 10/2/2025 | 11/2/2025

## Slide 10: FACILITY RATINGS
Updated Facility Ratings Report (FRR) and Seasonal Ratings Reports (SFRR) are published monthly
Facility Ratings notification process
  Changes to limiting and second most limiting ratings are communicated via email when reports are published
  Facilities list
  Notification list
BPA is now operating to Version 9 Methodology! Some updates include:
  Added fall season
  -40C to +40C temperature range in 5-degree increments

## Slide 11: SYSTEM EQUIPMENT CHANGE FORM
11
11
TOP team is beginning a process to analyze and then refresh the System Equipment Change Form to align with BPA’s data flow and associated processes. Items under consideration include but not limited to:
  What is the purpose of the System Equipment Change Form
  What is the criteria for submitting a new System Equipment Change Form
  What if the 235-day rule cannot be met
  What level of supporting data is BPA looking for
  If the equipment ratings change does the 235-day rule start over
  How is the System Equipment Change Form reviewed once it is received

## Slide 12: TOP 2026 COST ALLOCATION
Overall Operating Budget:
2025: $983k
2026: $1.279 Million
Cost Distribution Adjusted:
Base: 25% from 32%
Load: $55.60/MW from $43.60/MW
Bus: $2,103 from $2,841
Line: $4,206 from $1,497
2026 TOP Service Cost Allocation Spreadsheet
Chart: 
| Utility Base | Per Line | Per Bus | Utility Load
 | 0.00031513 | 0.00033419 | 0.00015068 | 0.0002

## Slide 13: TOP 2026 COST ALLOCATION
For the 2026 TOP Operating year it was determined that BPA’s FTE cost assumption needed to be aligned with BPA standards
  BPA has a standard FTE calculation with overheads that the TOP Services Program will be using going forward from 2026
Each year the TOP team will obtain the current BPA standard FTE cost calculation to set the upcoming years operating budget
For FY25 a salaried employee is $122.97 /hour with overheads = $255,777.60
  2025 CY Operating Costs were: $983,000
2026 Operating costs are:
  5 FTE x $255,777.60 = $1,278,888
BPA adjusted the FTE costs to include overheads resulting in a 30.01% increase for 2026
The adjustments for the previous year will reflect FTE rate with overheads

## Slide 14: QUESTIONS | COMMENTS

## Slide 15: TP CFR AGENDA
15
15
  Mission Statement
  2026 TP CFR Cost Allocation
  Compliance Packets
  TPL-008-1
  TPIP Review
  TP CFR Key Dates
  Questions

## Slide 16: TP CFR COORDINATED FUNCTIONAL REGISTRATION
16
16
TP CFR Mission Statement:
    The BPA Transmission Planner (TP) Coordinated Functional Registration (CFR) exists to facilitate the Transmission Planner function by ensuring timely and accurate data is collected and communicated through a collaborative and coordinated effort with our enrolled Transmission Owner customers.
The TP CFR allows BPA and TP CFR Customers to:
    Simplify the audit process by allowing either BPA or the TP CFR Customer to be accountable for individual reliability standards
    Reduce the compliance burden for each of the entities involved in the CFR agreement
    Limit the scope of compliance to the delineated responsibilities identified in the CFR Matrix

## Slide 17: TP CFR 2026 COST ALLOCATION
Overall Operating Budget:
2025: $400,000
2026: $703,388
Cost Distribution Adjusted:
Base: 32% from 18%
Load: $64.50/MW from $41.84/MW
Bus: $4,642 from $2,155
Line: $9,285 from $4,311
  2026 TP CFR Service Cost Allocation Spreadsheet
Chart: 
| Utility Base | Per Line | Per Bus | Utility Load
 | 0.00031513 | 0.00033419 | 0.00015068 | 0.0002

## Slide 18: TP CFR 2026 COST ALLOCATION
For the 2026 TP CFR year it was determined that BPA’s FTE cost assumption needed to be aligned with BPA standards
  BPA has a standard FTE calculation with overheads that the TP CFR Program will be using going forward from 2026
Each year the TP CFR team will obtain the current BPA standard FTE cost calculation to set the upcoming years operating budget
For FY25 a salaried employee is $122.97 /hour with overheads = $255,777.60
  2025 CY Operating Costs were: $400,000
2026 Operating costs are:
  2.75 FTE x $255,777.60 = $703,388
BPA adjusted the FTE costs to include overheads resulting in a 73% increase for 2026
The adjustments for the previous year will reflect FTE rate with overheads

## Slide 19: COMPLIANCE PACKET DISTRIBUTION
2025 System Planning Summary Appendix
2025 Short Circuit Summary
2025 TPL-001-5 Data Request Submission
Corrective Action Plan(s) if Applicable

## Slide 20: TPL-008-1
On December 10, 2024, NERC adopted TPL-008-1 to establish Transmission system planning performance requirements to develop a Bulk Power System (BPS) that will operate reliably during extreme heat and extreme cold temperature events.
Enforcement Dates for the 11 Requirements
  TPL-008-1 R1- 4/1/2026
  TPL-008-1 R2, R3, R4, R5, R6 – 4/1/2028
  TPL-008-1 R7, R8, R9, R10, R11 – 4/1/2030

## Slide 21: TPL-008-1

## Slide 22: TPIP V7 UPDATES
Cost allocation
  New Process
Minor updates to TPL-007-4 section

## Slide 23: TP CFR KEY DATES
September
  Compliance Packet Distribution
  TPIP V7 Customer Review of Redline
October
  Annual TP CFR Cost Send Outs
  Short Circuit Analysis Begins
January
  Matrix Update (adding TPL-008-1)
  Distribute Short Circuit Summary

## Slide 24: QUESTIONS

## Slide 25: Contact us: csrp@bpa.gov Lorissa Cardoza – CSRP Supervisor
TOP/TP CFR TEAM Megan Walden Alesia Crisman Debbie Dunn Kristin Judge